## Overview
Company and licence name, charging year, effective from, status
| Company and licence name | Year | Effective From | Status
Company and licence name, charging year, effective from, status | Leep Electricity Networks Limited — GSP Group _G North Western | 2019/2020 | 01 April 2019 | Final
List of data tables in this workbook
Worksheet | Information
Annex 1 LV and HV charges | Annex 1 contains charges to LV and HV Designated Properties.
Annex 2 EHV charges | Annex 2 contains the charges to Designated EHV Properties and charges applied to LDNOs with Designated EHV Properties/end-users embedded in networks within Leep Electricity Networks Limited — GSP Group _G North Western' area.
Annex 3 Preserved charges | Annex 3 contains details of any preserved and additional charges that are valid at this time.
Annex 4 LDNO charges | Annex 4 contains charges that are levied on the owner of an embedded network within Leep Electricity Networks Limited — GSP Group _G North Western area. Electricity suppliers and consumers who have properties connected to an embedded network should contact the embedded network owner to determine their distribution charges. The charges listed in this table are not payable by domestic consumers, business consumers or electricity suppliers. |  |  |  | Electricity suppliers and consumers who have properties connected to an embedded network should contact the embedded network owner to determine their distribution charges. The charges listed in this table are not payable by domestic consumers, business consumers or electricity suppliers.
Annex 5 LLFs | Annex 5 contains the LLFs which must be used to adjust the metering system volumes to take account of losses on the distribution network.
Annex 6 new Designated EHV Properties | Annex 6 contains the charges to new Designated EHV Properties and charges applied to LDNOs with new Designated EHV Properties/end-users embedded in networks within Leep Electricity Networks Limited — GSP Group _G North Western area.
Nodal prices | Contains the underlying [nodal/network group] costs used to calculate the current EDCM charges.
SSC TPR to unit rate lookup table | The time periods for the non half hourly metered charge rates in Annex 1 are as specified by the SSC. To determine the appropriate charge rate for each SSC/TPR a lookup table is provided.
Charge calculator | Charge calculator is a tool to help you estimate your distribution charges using current consumption data and forecast consumption data.
Notes to users of this spreadsheet
Please use this spreadsheet with reference to the LC14 use of system charging statement.
Notes to DNOs populating this spreadsheet
DNOs must endeavour to maintain consistency in the structure of this spreadsheet. Any changes to the structure must be noted in the 'Notes to users of this spreadsheet'

## Annex 1 LV and HV charges
Back to Overview
Leep Electricity Networks Limited — GSP Group _G North Western - Effective from 01 April 2019 - Final LV and HV charges
Time Bands for Half Hourly Metered Properties | [5 empty] | Time Bands for Half Hourly Unmetered Properties
Time periods | Red Time Band | Amber Time Band |  | Green Time Band |  |  |  | Black Time Band | Yellow Time Band | Green Time Band
Monday to Friday (Including Bank Holidays) All Year | 16:00 - 19:00 | 09:00 - 16:00 19:00 - 20:30 |  | 00:00 - 09:00 20:30 - 00:00 |  | Monday to Friday (Including Bank Holidays) March to October Inclusive |  |  | 09.00 - 20.30 | 00.00 - 09.00 20.30 - 24.00
Saturday and Sunday All Year |  | 16:00 - 19:00 |  | 00:00 - 16:00 19:00 - 00:00 |  | Monday to Friday (Including Bank Holidays) November to February Inclusive |  | 16:00 to 19:00 | 09:00 - 16.00 19.00 - 20.30 | 00.00 - 09.00 20.30 - 24.00
Notes | All the above times are in UK Clock time |  |  |  |  | Saturday and Sunday All Year |  |  | 16:00 to 19:00 | 00.00 - 16.00 19.00 - 24.00
[6 empty] | Notes |  | All the above times are in UK Clock time
Tariff name | Open LLFCs | PCs | Unit charge 1 (NHH) or red/black charge (HH) p/kWh | Unit charge 2 (NHH) or amber/yellow charge (HH) p/kWh | Green charge(HH) p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Exceeded capacity charge p/kVA/day | Reactive power charge p/kVArh | Closed LLFCs
Domestic Unrestricted | 286,861,294,437 | 1 | 2.39 | 0 | 0 | 3.53 | 0 | 0 | 0
Domestic Two Rate | 287,862,295,438 | 2 | 2.794 | 0.775 | 0 | 3.53 | 0 | 0 | 0
Domestic Off Peak (related MPAN) |  | 2 | 0.822 | 0 | 0 | 0 | 0 | 0 | 0
Small Non Domestic Unrestricted | 288,863,296,439 | 3 | 2.252 | 0 | 0 | 3.53 | 0 | 0 | 0
Small Non Domestic Two Rate |  | 4 | 2.356 | 0.735 | 0 | 3.53 | 0 | 0 | 0
Small Non Domestic Off Peak (related MPAN) |  | 4 | 0.758 | 0 | 0 | 0 | 0 | 0 | 0
LV Medium Non-Domestic | 289,865,297,440 | 5-8 | 2.197 | 0.712 | 0 | 18.09 | 0 | 0 | 0
LV Sub Medium Non-Domestic |  | 5-8 | 3.957 | 0.858 | 0 | 131.8 | 0 | 0 | 0
HV Medium Non-Domestic |  | 5-8 | 3.012 | 0.767 | 0 | 1193.82 | 0 | 0 | 0
LV Network Domestic | 284,801,292,435 |  | 10.371 | 2.081 | 0.754 | 3.53 | 0 | 0 | 0
LV Network Non-Domestic Non-CT | 285,811,293,436 |  | 9.526 | 1.951 | 0.738 | 3.53 | 0 | 0 | 0
LV HH Metered | 282,866,290,432 |  | 7.182 | 1.534 | 0.691 | 14.05 | 3.26 | 5.06 | 0.148
LV Sub HH Metered | 283,494,291,433 |  | 5.78 | 1.284 | 0.662 | 45.11 | 3.25 | 5.85 | 0.111
HV HH Metered | 868,445,434 |  | 4.244 | 1.018 | 0.632 | 99.18 | 2.93 | 5.75 | 0.074
HV Sub HH Metered | 869, 870 |  | 3.257 | 0.83 | 0.611 | 99.18 | 3.39 | 5.28 | 0.054
NHH UMS category A | 474,478,470,441 | 8 | 3.539 | 0 | 0 | 0 | 0 | 0 | 0
NHH UMS category B | 475,479,471,442 | 1 | 3.752 | 0 | 0 | 0 | 0 | 0 | 0
NHH UMS category C | 476,480,472,443 | 1 | 4.952 | 0 | 0 | 0 | 0 | 0 | 0
NHH UMS category D | 477,481,473,444 | 1 | 3.462 | 0 | 0 | 0 | 0 | 0 | 0
LV UMS (Pseudo HH Metered) |  |  | 26.83 | 3.515 | 2.459 | 0 | 0 | 0 | 0

## Annex 2 EHV charges
Back to Overview |  |  |  |  | Note: The list of MPANs / MSIDs provided may be incomplete; the DNO reserves the right to apply the listed charges to any other MPANs / MSIDs associated with the site.
Leep Electricity Networks Limited — GSP Group _G North Western - Effective from 01 April 2019 - Final EDCM charges
Time Periods for Designated EHV Properties
Time periods |  |  | Super Red Time Band
Monday to Friday (Including Bank Holidays) November to February Inclusive |  |  | 16:00 - 19:00
Notes |  |  | All the above times are in UK Clock time
Import Unique Identifier | LLFC | Import MPANs/MSIDs | Export Unique Identifier | LLFC | Export MPANs/MSIDs | Name | Import Super Red unit rate (p/kWh) | Import fixed charge (p/day) | Import capacity rate (p/kVA/day) | Import exceeded capacity rate (p/kVA/day) | Export Super Red unit rate (p/kWh) | Export fixed charge (p/day) | Export capacity rate (p/kVA/day) | Export exceeded capacity rate (p/kVA/day)

## Annex 2a Import
Note: The list of MPANs / MSIDs provided may be incomplete; the DNO reserves the right to apply the listed charges to any other MPANs / MSIDs associated with the site. Note: This table is automatically populated based on the content of the tab entitled 'Annex 2 EHV Charges'. The timebands are as shown in Annex 2.
Leep Electricity Networks Limited — GSP Group _G North Western - Effective from 01 April 2019 - Final EDCM import charges
Import Unique Identifier | LLFC | Import MPANs/MSIDs | Name | Import Super Red unit rate (p/kWh) | Import fixed charge (p/day) | Import capacity rate (p/kVA/day) | Import exceeded capacity rate (p/kVA/day)

## Annex 2b Export
Note: The list of MPANs / MSIDs provided may be incomplete; the DNO reserves the right to apply the listed charges to any other MPANs / MSIDs associated with the site. Note: This table is automatically populated based on the content of the tab entitled 'Annex 2 EHV Charges'. The timebands are as shown in Annex 2.
Leep Electricity Networks Limited — GSP Group _G North Western - Effective from 01 April 2019 - Final EDCM export charges
Export Unique Identifier | LLFC | Export MPANs/MSIDs | Name | Export Super Red unit rate (p/kWh) | Export fixed charge (p/day) | Export capacity rate (p/kVA/day) | Export exceeded capacity rate (p/kVA/day)

## Annex 3 Preserved charges
Back to Overview
Leep Electricity Networks Limited — GSP Group _G North Western - Effective from 01 April 2019 - Final LV and HV tariffs
NHH preserved charges/additional LLFCs
| Closed LLFCs | PCs | Unit rate 1 p/kWh | Unit rate 2 p/kWh | Unit rate 3 p/kWh | Fixed charge p/MPAN/day
NONE
Notes:
HH preserved charges/additional LLFCs
| Closed LLFCs | PCs | Unit rate 1 p/kWh (red/black) | Unit rate 2 p/kWh (amber/yellow) | Unit rate 3 p/kWh (green) | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Reactive power charge p/kVArh | Excess Capacity charge p/kVA
NONE | [8 empty] | 0
Notes:

## Annex 4 LDNO charges
Back to Overview
Leep Electricity Networks Limited — GSP Group _G North Western - Effective from 01 April 2019 - Final LDNO tariffs
Time Bands for Half Hourly Metered Properties |  |  |  |  | Time Bands for Half Hourly Unmetered Properties
Time periods | Red Time Band | Amber Time Band | Green Time Band |  |  |  | Black Time Band | Yellow Time Band | Green Time Band
Monday to Friday (Including Bank Holidays) All Year | 16:00 to 19:00 | 09:00 to 16:00 19:00 to 20:30 | 00.00 - 09.00 20.30 - 24.00 |  | Monday to Friday (Including Bank Holidays) March to October Inclusive |  |  | 09.00 - 20.30 | 00.00 - 09.00 20.30 - 24.00
Saturday and Sunday All Year |  | 16:00 to 19:00 | 00.00 - 16.00 19.00 - 24.00 |  | Monday to Friday (Including Bank Holidays) November to February Inclusive |  | 16:00 to 19:00 | 09:00 - 16.00 19.00 - 20.30 | 00.00 - 09.00 20.30 - 24.00
Notes | All the above times are in UK Clock time |  |  |  | Saturday and Sunday All year |  |  | 16:00 to 19:00 | 00.00 - 16.00 19.00 - 24.00
[5 empty] | Monday to Friday (Including Bank Holidays) All Year |  |  |  | [Start] - [End]
[5 empty] | Saturday and Sunday All year |  |  |  | [Start] - [End]
[5 empty] | Notes |  | All the above times are in UK Clock time
Tariff name | Unique billing identifier | PCs | Unit charge 1 (NHH) or red/black charge (HH) p/kWh | Unit charge 2 (NHH) or amber/yellow charge (HH) p/kWh | Green charge(HH) p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Exceeded capacity charge p/kVA/day | Reactive power charge p/kVArh
LDNO LV: Domestic Unrestricted |  | 1 | 1.536 |  |  | 2.27
LDNO LV: Domestic Two Rate |  | 2 | 1.796 | 0.498 |  | 2.27
LDNO LV: Domestic Off Peak (related MPAN) |  | 2 | 0.528
LDNO LV: Small Non Domestic Unrestricted |  | 3 | 1.447 |  |  | 2.27
LDNO LV: Small Non Domestic Two Rate |  | 4 | 1.514 | 0.472 |  | 2.27
LDNO LV: Small Non Domestic Off Peak (related MPAN) |  | 4 | 0.487
LDNO LV: LV Medium Non-Domestic |  | 5-8 | 1.412 | 0.458 |  | 11.63
LDNO LV: LV Network Domestic |  |  | 6.665 | 1.337 | 0.485 | 2.27
LDNO LV: LV Network Non-Domestic Non-CT |  |  | 6.122 | 1.254 | 0.474 | 2.27
LDNO LV: LV HH Metered |  |  | 4.615 | 0.986 | 0.444 | 9.03 | 2.1 | 3.25 | 0.095
LDNO LV: NHH UMS category A |  | 8 | 2.274
LDNO LV: NHH UMS category B |  | 1 | 2.411
LDNO LV: NHH UMS category C |  | 1 | 3.182
LDNO LV: NHH UMS category D |  | 1 | 2.225
LDNO LV: LV UMS (Pseudo HH Metered) |  |  | 17.242 | 2.259 | 1.58
LDNO HV: Domestic Unrestricted |  | 1 | 1.02 |  |  | 1.51
LDNO HV: Domestic Two Rate |  | 2 | 1.192 | 0.331 |  | 1.51
LDNO HV: Domestic Off Peak (related MPAN) |  | 2 | 0.351
LDNO HV: Small Non Domestic Unrestricted |  | 3 | 0.961 |  |  | 1.51
LDNO HV: Small Non Domestic Two Rate |  | 4 | 1.005 | 0.314 |  | 1.51
LDNO HV: Small Non Domestic Off Peak (related MPAN) |  | 4 | 0.323
LDNO HV: LV Medium Non-Domestic |  | 5-8 | 0.937 | 0.304 |  | 7.72
LDNO HV: LV Network Domestic |  |  | 4.424 | 0.888 | 0.322 | 1.51
LDNO HV: LV Network Non-Domestic Non-CT |  |  | 4.064 | 0.832 | 0.315 | 1.51
LDNO HV: LV HH Metered |  |  | 3.064 | 0.654 | 0.295 | 5.99 | 1.39 | 2.16 | 0.063
LDNO HV: LV Sub HH Metered |  |  | 3.885 | 0.863 | 0.445 | 30.32 | 2.18 | 3.93 | 0.075
LDNO HV: HV HH Metered |  |  | 3.377 | 0.81 | 0.503 | 78.92 | 2.33 | 4.58 | 0.059
LDNO HV: NHH UMS category A |  | 8 | 1.51
LDNO HV: NHH UMS category B |  | 1 | 1.601
LDNO HV: NHH UMS category C |  | 1 | 2.112
LDNO HV: NHH UMS category D |  | 1 | 1.477
LDNO HV: LV UMS (Pseudo HH Metered) |  |  | 11.445 | 1.499 | 1.049
LDNO HVplus: Domestic Unrestricted |  | 1 | 0.878 |  |  | 1.3
LDNO HVplus: Domestic Two Rate |  | 2 | 1.026 | 0.285 |  | 1.3
LDNO HVplus: Domestic Off Peak (related MPAN) |  | 2 | 0.302
LDNO HVplus: Small Non Domestic Unrestricted |  | 3 | 0.827 |  |  | 1.3
LDNO HVplus: Small Non Domestic Two Rate |  | 4 | 0.865 | 0.27 |  | 1.3
LDNO HVplus: Small Non Domestic Off Peak (related MPAN) |  | 4 | 0.278
LDNO HVplus: LV Medium Non-Domestic |  | 5-8 | 0.807 | 0.261 |  | 6.64
LDNO HVplus: LV Sub Medium Non-Domestic |  | 5-8 | 2.24 | 0.486 |  | 74.61
LDNO HVplus: HV Medium Non-Domestic |  | 5-8 | 1.996 | 0.508 |  | 791.15
LDNO HVplus: LV Network Domestic |  |  | 3.808 | 0.764 | 0.277 | 1.3
LDNO HVplus: LV Network Non-Domestic Non-CT |  |  | 3.498 | 0.716 | 0.271 | 1.3
LDNO HVplus: LV HH Metered |  |  | 2.637 | 0.563 | 0.254 | 5.16 | 1.2 | 1.86 | 0.054
LDNO HVplus: LV Sub HH Metered |  |  | 3.272 | 0.727 | 0.375 | 25.54 | 1.84 | 3.31 | 0.063
LDNO HVplus: HV HH Metered |  |  | 2.813 | 0.675 | 0.419 | 65.73 | 1.94 | 3.81 | 0.049
LDNO HVplus: NHH UMS category A |  | 8 | 1.299
LDNO HVplus: NHH UMS category B |  | 1 | 1.378
LDNO HVplus: NHH UMS category C |  | 1 | 1.818
LDNO HVplus: NHH UMS category D |  | 1 | 1.271
LDNO HVplus: LV UMS (Pseudo HH Metered) |  |  | 9.851 | 1.291 | 0.903
LDNO EHV: Domestic Unrestricted |  | 1 | 0.694 |  |  | 1.03
LDNO EHV: Domestic Two Rate |  | 2 | 0.812 | 0.225 |  | 1.03
LDNO EHV: Domestic Off Peak (related MPAN) |  | 2 | 0.239
LDNO EHV: Small Non Domestic Unrestricted |  | 3 | 0.654 |  |  | 1.03
LDNO EHV: Small Non Domestic Two Rate |  | 4 | 0.684 | 0.214 |  | 1.03
LDNO EHV: Small Non Domestic Off Peak (related MPAN) |  | 4 | 0.22
LDNO EHV: LV Medium Non-Domestic |  | 5-8 | 0.638 | 0.207 |  | 5.26
LDNO EHV: LV Sub Medium Non-Domestic |  | 5-8 | 1.772 | 0.384 |  | 59.04
LDNO EHV: HV Medium Non-Domestic |  | 5-8 | 1.579 | 0.402 |  | 626.01
LDNO EHV: LV Network Domestic |  |  | 3.013 | 0.605 | 0.219 | 1.03
LDNO EHV: LV Network Non-Domestic Non-CT |  |  | 2.768 | 0.567 | 0.214 | 1.03
LDNO EHV: LV HH Metered |  |  | 2.087 | 0.446 | 0.201 | 4.08 | 0.95 | 1.47 | 0.043
LDNO EHV: LV Sub HH Metered |  |  | 2.589 | 0.575 | 0.297 | 20.21 | 1.46 | 2.62 | 0.05
LDNO EHV: HV HH Metered |  |  | 2.225 | 0.534 | 0.331 | 52.01 | 1.54 | 3.02 | 0.039
LDNO EHV: NHH UMS category A |  | 8 | 1.028
LDNO EHV: NHH UMS category B |  | 1 | 1.09
LDNO EHV: NHH UMS category C |  | 1 | 1.439
LDNO EHV: NHH UMS category D |  | 1 | 1.006
LDNO EHV: LV UMS (Pseudo HH Metered) |  |  | 7.795 | 1.021 | 0.714
LDNO 132kV/EHV: Domestic Unrestricted |  | 1 | 0.58 |  |  | 0.86
LDNO 132kV/EHV: Domestic Two Rate |  | 2 | 0.678 | 0.188 |  | 0.86
LDNO 132kV/EHV: Domestic Off Peak (related MPAN) |  | 2 | 0.2
LDNO 132kV/EHV: Small Non Domestic Unrestricted |  | 3 | 0.547 |  |  | 0.86
LDNO 132kV/EHV: Small Non Domestic Two Rate |  | 4 | 0.572 | 0.178 |  | 0.86
LDNO 132kV/EHV: Small Non Domestic Off Peak (related MPAN) |  | 4 | 0.184
LDNO 132kV/EHV: LV Medium Non-Domestic |  | 5-8 | 0.533 | 0.173 |  | 4.39
LDNO 132kV/EHV: LV Sub Medium Non-Domestic |  | 5-8 | 1.481 | 0.321 |  | 49.32
LDNO 132kV/EHV: HV Medium Non-Domestic |  | 5-8 | 1.32 | 0.336 |  | 523.01
LDNO 132kV/EHV: LV Network Domestic |  |  | 2.517 | 0.505 | 0.183 | 0.86
LDNO 132kV/EHV: LV Network Non-Domestic Non-CT |  |  | 2.312 | 0.474 | 0.179 | 0.86
LDNO 132kV/EHV: LV HH Metered |  |  | 1.743 | 0.372 | 0.168 | 3.41 | 0.79 | 1.23 | 0.036
LDNO 132kV/EHV: LV Sub HH Metered |  |  | 2.163 | 0.481 | 0.248 | 16.88 | 1.22 | 2.19 | 0.042
LDNO 132kV/EHV: HV HH Metered |  |  | 1.859 | 0.446 | 0.277 | 43.45 | 1.28 | 2.52 | 0.032
LDNO 132kV/EHV: NHH UMS category A |  | 8 | 0.859
LDNO 132kV/EHV: NHH UMS category B |  | 1 | 0.911
LDNO 132kV/EHV: NHH UMS category C |  | 1 | 1.202
LDNO 132kV/EHV: NHH UMS category D |  | 1 | 0.84
LDNO 132kV/EHV: LV UMS (Pseudo HH Metered) |  |  | 6.513 | 0.853 | 0.597
LDNO 132kV: Domestic Unrestricted |  | 1 | 0.437 |  |  | 0.65
LDNO 132kV: Domestic Two Rate |  | 2 | 0.511 | 0.142 |  | 0.65
LDNO 132kV: Domestic Off Peak (related MPAN) |  | 2 | 0.15
LDNO 132kV: Small Non Domestic Unrestricted |  | 3 | 0.412 |  |  | 0.65
LDNO 132kV: Small Non Domestic Two Rate |  | 4 | 0.431 | 0.134 |  | 0.65
LDNO 132kV: Small Non Domestic Off Peak (related MPAN) |  | 4 | 0.139
LDNO 132kV: LV Medium Non-Domestic |  | 5-8 | 0.402 | 0.13 |  | 3.31
LDNO 132kV: LV Sub Medium Non-Domestic |  | 5-8 | 1.115 | 0.242 |  | 37.14
LDNO 132kV: HV Medium Non-Domestic |  | 5-8 | 0.994 | 0.253 |  | 393.81
LDNO 132kV: LV Network Domestic |  |  | 1.895 | 0.38 | 0.138 | 0.65
LDNO 132kV: LV Network Non-Domestic Non-CT |  |  | 1.741 | 0.357 | 0.135 | 0.65
LDNO 132kV: LV HH Metered |  |  | 1.313 | 0.28 | 0.126 | 2.57 | 0.6 | 0.92 | 0.027
LDNO 132kV: LV Sub HH Metered |  |  | 1.629 | 0.362 | 0.187 | 12.71 | 0.92 | 1.65 | 0.031
LDNO 132kV: HV HH Metered |  |  | 1.4 | 0.336 | 0.208 | 32.72 | 0.97 | 1.9 | 0.024
LDNO 132kV: NHH UMS category A |  | 8 | 0.647
LDNO 132kV: NHH UMS category B |  | 1 | 0.686
LDNO 132kV: NHH UMS category C |  | 1 | 0.905
LDNO 132kV: NHH UMS category D |  | 1 | 0.633
LDNO 132kV: LV UMS (Pseudo HH Metered) |  |  | 4.904 | 0.642 | 0.449
LDNO 0000: Domestic Unrestricted |  | 1 | 0.155 |  |  | 0.23
LDNO 0000: Domestic Two Rate |  | 2 | 0.182 | 0.05 |  | 0.23
LDNO 0000: Domestic Off Peak (related MPAN) |  | 2 | 0.053
LDNO 0000: Small Non Domestic Unrestricted |  | 3 | 0.146 |  |  | 0.23
LDNO 0000: Small Non Domestic Two Rate |  | 4 | 0.153 | 0.048 |  | 0.23
LDNO 0000: Small Non Domestic Off Peak (related MPAN) |  | 4 | 0.049
LDNO 0000: LV Medium Non-Domestic |  | 5-8 | 0.143 | 0.046 |  | 1.18
LDNO 0000: LV Sub Medium Non-Domestic |  | 5-8 | 0.397 | 0.086 |  | 13.21
LDNO 0000: HV Medium Non-Domestic |  | 5-8 | 0.353 | 0.09 |  | 140.07
LDNO 0000: LV Network Domestic |  |  | 0.674 | 0.135 | 0.049 | 0.23
LDNO 0000: LV Network Non-Domestic Non-CT |  |  | 0.619 | 0.127 | 0.048 | 0.23
LDNO 0000: LV HH Metered |  |  | 0.467 | 0.1 | 0.045 | 0.91 | 0.21 | 0.33 | 0.01
LDNO 0000: LV Sub HH Metered |  |  | 0.579 | 0.129 | 0.066 | 4.52 | 0.33 | 0.59 | 0.011
LDNO 0000: HV HH Metered |  |  | 0.498 | 0.119 | 0.074 | 11.64 | 0.34 | 0.67 | 0.009
LDNO 0000: NHH UMS category A |  | 8 | 0.23
LDNO 0000: NHH UMS category B |  | 1 | 0.244
LDNO 0000: NHH UMS category C |  | 1 | 0.322
LDNO 0000: NHH UMS category D |  | 1 | 0.225
LDNO 0000: LV UMS (Pseudo HH Metered) |  |  | 1.744 | 0.228 | 0.16

## Annex 5 LLFs
Back to Overview
Leep Electricity Networks Limited — GSP Group _G North Western - LLF Time Periods
Time periods | Period 1 | Period 2 | Period 3 | Period 4
Monday to Friday March to October |  |  | 00:00 – 07:00 | 07:00 – 00:00
Monday to Friday November to February | 16:00 – 19:00 | 07:00 – 16:00 19:00 – 00:00 | 00:00 – 07:00
Saturday and Sunday All Year |  |  | 00:00 – 07:00 | 07:00 – 00:00
Notes | All the above times are in UK Clock time
Generic demand and generation LLFs
Metered voltage, respective periods and associated LLFCs
Metered voltage | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Low-voltage network | 1.108 | 1.096 | 1.084 | 1.091 | 286,861,294,437,287,862,295,438,288,863,296,439,289,865,297,440,284,801,292,435,285,811,293,436,282,866,290,432,474,478,470,441,475,479,471,442,476,480,472,443,477,481,473,444
Low-voltage substation | 1.053 | 1.05 | 1.046 | 1.049 | 283,494,291,433
High-voltage network | 1.039 | 1.036 | 1.03 | 1.034 | 868,445,434
High-voltage substation | 1.027 | 1.025 | 1.022 | 1.024 | 869, 870
33kV generic | 1.021 | 1.02 | 1.017 | 1.019
132kV to 33kV generic | 1.015 | 1.014 | 1.012 | 1.013
132kV generic | 1.01 | 1.009 | 1.007 | 1.008
EHV site specific LLFs
Demand
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC

## Annex 6 New Designated EHV Prop
Back to Overview | [5 empty] | Note: The list of MPANs/MSIDs provided may be incomplete; the DNO reserves the right to apply the listed charges to any other MPANs/MSIDs associated with the site.
Annex 6 - Addendum to Annex 2 EHV charges
Leep Electricity Networks Limited — GSP Group _G North Western - Effective from 01 April 2019 - Final new designated EHV charges
Import Unique Identifier | Import MPANs/MSIDs | Import LLFC | Export Unique Identifier | Export LLFC | Export MPANs/MSIDs | Name | Import super-red unit rate p/kWh | Import fixed charge p/day | Import capacity rate p/kVA/day | Import exceeded capacity rate p/kVA/day | Export super-red unit rate p/kWh | Export fixed charge p/day | Export capacity rate p/kVA/day | Export exceeded capacity rate p/kVA/day
Leep Electricity Networks Limited — GSP Group _G North Western - Effective from 01 April 2019 - Final new designated EHV line loss factors
Import Unique Identifier | Import MPANs/MSIDs | Import LLFC | Export Unique Identifier | Export LLFC | Export MPANs/MSIDs | Name | Import LLF period 1 | Import LLF period 2 | Import LLF period 3 | Import LLF period 4 | Import LLF period 5 | Export LLF period 1 | Export LLF period 2 | Export LLF period 3 | Export LLF period 4 | Export LLF period 5

## Nodal prices
Back to Overview
Leep Electricity Networks Limited — GSP Group _G North Western - Effective from 01 April 2019 - Final Nodal/Zonal charges
Node/Zone ID | Geographical name | Local charge 1 £/kVA | Remote charge 1 £/kVA

## SSC TPR unit rate lookup
Back to Overview
Standard Settlement Configuration Id | Time Pattern Regime Id | Standard Settlement Configuration Desc | Common Decode | Change implemented | Date | Comments
3 | 166 | 10-hour OP | O |  | 2009-09-01 | First published spreadsheet
4 | 168 | 10-hour OP | O | SSC 0330 charge rates corrected | 2010-04-07 | Previous Off-peak rate corrected to charge 2
5 | 100 | 10-hour OP + w/e | O | SSC 0250 charge rate corrected | 2010-06-18 | Previous rate 1 corrected to Off Peak O
6 | 257 | 10.5-hour OP | O | SSC 0134 charge rate corrected | 2012-09-14 | TPR 00101 corrected from Off Peak O to Rate 1
7 | 158 | 10.5-hour OP | O | New SSCs added | 2012-09-26 | New SSCs from 0953 added.
8 | 159 | 10.5-hour OP | O | SSC 0394 charge rate corrected | 2014-04-29 | TPR 01177 corrected to rate 2
9 | 1111 | 10.5-hour OP | O | Table reviewed and updated | 2014-04-29 | New SSCs from 0949 to 0952, 0975 & 0976 and 0982 & 0983 added.
10 | 1104 | 10.5-hour OP | O | Table reviewed and updated | 2014-11-01 | New SSCs from 0984 and 0985 added.
11 | 1112 | 10.5-hour OP | O | SSC 0313 charge code corrected | 2015-03-18 | TPR 01006 corrected to code O
12 | 1116 | 10.5-hour OP | O | SSC 0320 charge code corrected | 2015-03-18 | TPR 00072 corrected to code 2
13 | 139 | 11 Hour OP | EMEB or MIDE only | SSC 0781 charge code corrected | 2015-03-18 | TPR 00327 corrected to code O
15 | 152 | 11 Hour OP | EMEB or MIDE only | SSC 0935 charge code corrected | 2015-03-18 | TPR 00375 corrected to code 1 or Unsupported (SWAE and SWEB)
16 | 113 | 11.5-hour OP | Unsupported (SWEB) | SSC 0953 charge code corrected | 2015-03-18 | TPR 00424 corrected to code 1 or Unsupported (SWAE and SWEB)
17 | 125 | 11.5-hour OP | Unsupported (SWEB) | SSC 0955 charge code corrected | 2015-03-18 | TPR 00206 corrected to code 2
18 | 126 | 11.5-hour OP | Unsupported (SWEB) | SSC 0955 charge code corrected | 2015-03-18 | TPR 00430 corrected to code 1
19 | 127 | 11.5-hour OP | Unsupported (SWEB) | SSC 0956 charge code corrected | 2015-03-18 | TPR 00160 corrected to code 2
20 | 129 | 11.5-hour OP | Unsupported (SWEB) | SSC 0959 charge code corrected | 2015-03-18 | TPR 00160 corrected to code 1
21 | 130 | 11.5-hour OP | Unsupported (SWEB) | SSC 0960 charge code corrected | 2015-03-18 | TPR 00160 corrected to code 2
22 | 131 | 11.5-hour OP | Unsupported (SWEB) | SSC 0960 charge code corrected | 2015-03-18 | TPR 00441 corrected to code 1
23 | 136 | 11-hour OP | O or Unsupported (SWEB) | SSC 0963 charge code corrected | 2015-03-18 | TPR 00160 corrected to code 1
24 | 137 | 11-hour OP | Unsupported (SWEB) | SSC 0964 charge code corrected | 2015-03-18 | TPR 00160 corrected to code 2
25 | 138 | 11-hour OP | Unsupported (SWEB) | SSC 0965 charge code corrected | 2015-03-18 | TPR 00194 corrected to code 2
26 | 141 | 11-hour OP | O | SSC 0969 charge code corrected | 2015-03-18 | TPR 00501 corrected to code 1
28 | 143 | 11-hour OP | O | SSC 0984 charge code corrected | 2015-03-18 | TPR 00512 corrected to code 1
29 | 144 | 11-hour OP | EMEB or MIDE only | SSC 0984 charge code corrected | 2015-03-18 | TPR 00513 corrected to code 2
30 | 145 | 11-hour OP | O | SSC 0985 charge code corrected | 2015-03-18 | TPR 00514 corrected to code 1
31 | 146 | 11-hour OP | O | SSC 0985 charge code corrected | 2015-03-18 | TPR 00515 corrected to code 2
32 | 147 | 11-hour OP | O | SSC 0403 charge code corrected | 2015-03-26 | TPR 01179 corrected to code 2
33 | 228 | 11-hour OP | O or Unsupported (SWEB) | SSC 0959 charge code corrected | 2015-06-11 | TPR 00160 corrected to code 2
34 | 149 | 11-hour OP | O or Unsupported (SWEB) | SSC 0963 charge code corrected | 2015-06-11 | TPR 00160 corrected to code 2
35 | 150 | 11-hour OP | O | SSC 0058 description updated | 2015-06-11 | Key Meter pseudo 2-rate
36 | 151 | 11-hour OP | Unsupported (SWEB) | SSC 0126 description updated | 2015-06-11 | 7-hour E7
37 | 153 | 11-hour OP | Unsupported (SWEB) | SSC 0927 description updated | 2015-06-11 | Unmetered D ("dawn-to-dusk")
38 | 154 | 11-hour OP | O | SSC 0928 description updated | 2015-06-11 | Unmetered C ("half-night & pre-dawn")
39 | 155 | 11-hour OP | O | SSC 0252 charge code corrected | 2015-06-11 | TPR 00212 corrected to code O
40 | 157 | 11.5-hour OP | Unsupported (SWEB) | SSC 0253 charge code corrected | 2015-06-11 | TPR 01290 corrected to code O
41 | 171 | 8.5-hour OP | Unsupported (SWEB) | SSC 0268 charge code corrected | 2015-06-11 | TPR 00193 corrected to code O
42 | 173 | 9-hour OP | Unsupported (SWEB) | SSC 0316 charge code corrected | 2015-06-11 | TPR 00053 corrected to code 2
43 | 174 | 9-hour OP | Unsupported (SWEB) | SSC 0319 charge code corrected | 2015-06-11 | TPR 00071 corrected to code 2
44 | 185 | 8.5-hour OP | Unsupported (SWEB) | SSC 0775 charge code corrected | 2015-06-11 | TPR 00334 corrected to code O
45 | 19 | 11-hour OP + Summer | O | SSC 0776 charge code corrected | 2015-06-11 | TPR 00335 corrected to code O
46 | 78 | 11-hour OP + w/e | O | SSC 0916 charge code corrected | 2015-06-11 | TPR 00315 corrected to code 2
47 | 15 | 11-hour OP + w/e & Summer | O | SSC 0916 charge code corrected | 2015-06-11 | TPR 00316 corrected to code 1
48 | 79 | 11-hour OP + weekends | EMEB or MIDE only | SSC 0917 charge code corrected | 2015-06-11 | TPR 00279 corrected to code 2
49 | 128 | 11.5-hour OP | O | SSC 0917 charge code corrected | 2015-06-11 | TPR 00280 corrected to code 1
50 | 14 | 12-hour OP + w/e & Summer | O | SSC 0942 charge code corrected | 2015-06-11 | TPR 00400 corrected to code 1
51 | 112 | 12-hour night | 1 | SSC 0943 charge code corrected | 2015-06-11 | TPR 00404 corrected to code 1
51 | 120 | 12-hour night | 2 | SSC 0944 charge code corrected | 2015-06-11 | TPR 00406 corrected to code 1
52 | 114 | 12-hour OP | EMEB or MIDE only | SSC 0945 charge code corrected | 2015-06-11 | TPR 00408 corrected to code 1
53 | 115 | 12-hour OP | EMEB or MIDE only | SSC 0946 charge code corrected | 2015-06-11 | TPR 00410 corrected to code 1
55 | 117 | 12-hour OP | EMEB or MIDE only | SSC 0954 charge code corrected | 2015-06-11 | TPR 00426 corrected to code 1
56 | 118 | 12-hour OP | EMEB or MIDE only | SSC 0967 charge code corrected | 2015-06-11 | TPR 00442 corrected to code 1
57 | 119 | 12-hour OP | O | SSC 0970 charge code corrected | 2015-06-11 | TPR 00447 corrected to code 2
58 | 21 | Key Meter pseudo 2-rate | 1 | SSC 0970 charge code corrected | 2015-06-11 | TPR 00448 corrected to code 1
58 | 175 | Key Meter pseudo 2-rate | 1 | SSC 0971 charge code corrected | 2015-06-11 | TPR 00493 corrected to code 1
59 | 121 | 12-hour OP | EMEB or MIDE only
60 | 122 | 12-hour OP | O
62 | 1119 | 8-hour OP (see also SSC 427) | 2 or Unsupported (SWEB)
63 | 172 | 9-hour OP | EMEB or MIDE only
64 | 1105 | 12-hour OP | O
65 | 10 | 12-hour OP + Summer | O
66 | 1106 | 12-hour OP + Summer | O
67 | 102 | 12.5-hour OP | Unsupported (SWEB)
71 | 109 | 12.5-hour OP | O
72 | 111 | 12.5-hour OP | O
73 | 156 | 12.5-hour OP | Unsupported (SWEB)
74 | 17 | 12.5-hour OP + Summer | O
75 | 62 | 12.5-hour OP + w/e | O
76 | 63 | 12.5-hour OP + w/e | O
77 | 134 | 12.5-hour OP + w/e | O
78 | 13 | 12.5-hour OP + w/e & Summer | O
79 | 97 | 14-hour E7 | 2
79 | 164 | 14-hour E7 | 1
80 | 96 | 14-hour Off Peak | O
81 | 60 | 14-hour OP + Sun | O
82 | 83 | 14.5-hour OP | O
83 | 84 | 14.5-hour OP | O
84 | 85 | 14.5-hour OP | O
85 | 86 | 14.5-hour OP | O
86 | 1107 | 14.5-hour OP | O
87 | 1109 | 14.5-hour OP | O
88 | 1113 | 14.5-hour OP | O
91 | 3 | 14.5-hour OP + Summer | O
92 | 4 | 14.5-hour OP + Summer | O
93 | 30 | split 7-hour E7 | 1
93 | 214 | split 7-hour E7 | 2
94 | 1108 | 14.5-hour OP + Summer | O
95 | 1110 | 14.5-hour OP + Summer | O
96 | 1114 | 14.5-hour OP + Summer | O
97 | 54 | 14.5-hour OP + w/e | O
98 | 12 | 14.5-hour OP + w/e & Summer | O
99 | 75 | 15-hour OP | EMEB or MIDE only
100 | 76 | 15-hour OP | EMEB or MIDE only
101 | 7 | 15-hour OP + w/e & Summer | O
102 | 8 | 15-hour OP + w/e & Summer | O
103 | 9 | 15-hour OP + w/e & Summer | O
104 | 61 | 15.5-hour OP | Unsupported (SWEB)
105 | 65 | 15.5-hour OP | O
106 | 66 | 15.5-hour OP | Unsupported (SWEB)
107 | 67 | 15.5-hour OP | Unsupported (SWEB)
108 | 68 | 15.5-hour OP | Unsupported (SWEB)
109 | 69 | 15.5-hour OP | O
110 | 1348 | 15.5-hour OP | O
111 | 91 | 15.5-hour OP + Summer | O
112 | 22 | 15.5-hour OP + w/e | EMEB or MIDE only
113 | 23 | 15.5-hour OP + w/e | EMEB or MIDE only
115 | 25 | 15.5-hour OP + w/e | O
116 | 26 | 15.5-hour OP + w/e | O
117 | 1349 | 15.5-hour OP + w/e | O
118 | 6 | 15.5-hour OP + w/e & Summer | O
119 | 1350 | 15.5-hour OP + w/e & Summer | O
120 | 11 | 9-hour OP | O
121 | 26 | 2-rate terms | 2
121 | 224 | 2-rate terms | 1
122 | 201 | 2-rate SToD | 1
122 | 245 | 2-rate SToD | 2
123 | 1307 | 2-rate variable SToD | 1
124 | 1319 | 2-rate variable SToD | 1
125 | 1315 | 2-rate variable SToD | 1
126 | 1193 | 7-hour E7 | 1
126 | 1194 | 7-hour E7 | 2
127 | 80 | 3-rate SToD | Unsupported (SWEB)
127 | 148 | 3-rate SToD | 1
127 | 221 | 3-rate SToD | 2 or Unsupported (SWEB)
128 | 1120 | Dom/Non-dom Seasonal (link SSC 0342) | 1
128 | 1121 | Dom/Non-dom Seasonal (link SSC 0342) | 1
128 | 1122 | Dom/Non-dom Seasonal (link SSC 0342) | 2
129 | 169 | 3-rate SToD | 1
129 | 202 | 3-rate SToD | 1
129 | 222 | 3-rate SToD | 2
130 | 1308 | 3-rate variable | 1
130 | 1309 | 3-rate variable | 1
130 | 1310 | 3-rate variable | 2
131 | 1311 | 3-rate variable | 1
131 | 1312 | 3-rate variable | 1
131 | 1313 | 3-rate variable | 2
132 | 92 | 4-rate SToD | EMEB or MIDE only
132 | 210 | 4-rate SToD | 2
132 | 234 | 4-rate SToD | EMEB or MIDE only
132 | 236 | 4-rate SToD | EMEB or MIDE only
133 | 92 | 4-rate SToD | 1
133 | 210 | 4-rate SToD | 2
133 | 233 | 4-rate SToD | 1
133 | 246 | 4-rate SToD | 1
134 | 101 | 4-rate SToD | 1
134 | 210 | 4-rate SToD | 2
134 | 232 | 4-rate SToD | 1
134 | 250 | 4-rate SToD | 1
135 | 38 | 4-rate SToD | 1
135 | 80 | 4-rate SToD | 1
135 | 221 | 4-rate SToD | 2 or Unsupported (SWEB)
135 | 247 | 4-rate SToD | 1
136 | 124 | 4-rate SToD | 1
136 | 202 | 4-rate SToD | 1
136 | 222 | 4-rate SToD | 2
136 | 246 | 4-rate SToD | 1
137 | 203 | 4-rate SToD | closed - no longer exists - was used SPM only
137 | 222 | 4-rate SToD | closed - no longer exists - was used SPM only
137 | 223 | 4-rate SToD | closed - no longer exists - was used SPM only
137 | 229 | 4-rate SToD | closed - no longer exists - was used SPM only
138 | 5 | 4-rate SToD | EMEB or MIDE only
138 | 88 | 4-rate SToD | EMEB or MIDE only
138 | 208 | 4-rate SToD | 2
138 | 235 | 4-rate SToD | EMEB or MIDE only
140 | 1395 | split 7-hour E7 | 2
140 | 1396 | split 7-hour E7 | 1
141 | 189 | 5-rate SToD | 1
141 | 210 | 5-rate SToD | 2
141 | 233 | 5-rate SToD | 1
141 | 249 | 5-rate SToD | 1
141 | 252 | 5-rate SToD | 1
142 | 132 | 5-rate SToD | 1
142 | 206 | 5-rate SToD | 2
142 | 230 | 5-rate SToD | 1
142 | 249 | 5-rate SToD | 1
142 | 252 | 5-rate SToD | 1
143 | 47 | 15-hour OP | O
144 | 93 | 6-rate SToD | 1
144 | 208 | 6-rate SToD | 2
144 | 239 | 6-rate SToD | 1
144 | 243 | 6-rate SToD | 1
144 | 248 | 6-rate SToD | 1
144 | 251 | 6-rate SToD | 1
145 | 210 | 6-rate SToD | 2
145 | 249 | 6-rate SToD | 1
145 | 92 | 6-rate SToD | EMEB or MIDE only
145 | 240 | 6-rate SToD | EMEB or MIDE only
145 | 244 | 6-rate SToD | EMEB or MIDE only
145 | 252 | 6-rate SToD | 1
146 | 73 | 6-rate SToD | 1
146 | 93 | 6-rate SToD | 1
146 | 208 | 6-rate SToD | 2
146 | 239 | 6-rate SToD | 1
146 | 248 | 6-rate SToD | 1
146 | 251 | 6-rate SToD | 1
147 | 99 | 6-rate SToD | 1
147 | 206 | 6-rate SToD | 2
147 | 238 | 6-rate SToD | 1
147 | 242 | 6-rate SToD | 1
147 | 249 | 6-rate SToD | 1
147 | 252 | 6-rate SToD | 1
148 | 1152 | 7-hour OP (see also SSC 0185) | 2 or Unsupported (SWEB)
149 | 1394 | Smart 7, heating | 2
150 | 42 | 7-hour E7 | 1
150 | 207 | 7-hour E7 | 2
151 | 43 | 7-hour E7 | 1
151 | 210 | 7-hour E7 | 2 or Unsupported (SWEB)
152 | 45 | 7-hour E7 | 1
152 | 211 | 7-hour E7 | 2
153 | 46 | 7-hour E7 | 1
153 | 212 | 7-hour E7 | 2
154 | 39 | 7-hour E7 | 1
154 | 221 | 7-hour E7 | 2
155 | 51 | split 7-hour E7 | EMEB or MIDE only
155 | 200 | split 7-hour E7 | EMEB or MIDE only
156 | 1000 | 7-hour E7 | 2
156 | 1001 | 7-hour E7 | 1
157 | 1002 | 7-hour E7 | 2
157 | 1003 | 7-hour E7 | 1
158 | 1008 | 7-hour E7 | 2
158 | 1009 | 7-hour E7 | 1
159 | 28 | 12-hour OP | O or Unsupported (SWEB)
160 | 1014 | 7-hour E7 | 2
160 | 1015 | 7-hour E7 | 1
161 | 1018 | 7-hour E7 | 2
161 | 1019 | 7-hour E7 | 1
162 | 1020 | 7-hour E7 | 2
162 | 1021 | 7-hour E7 | 1
163 | 1034 | 7-hour E7 | 2
163 | 1035 | 7-hour E7 | 1
164 | 1037 | 7-hour E7 | 2
164 | 1038 | 7-hour E7 | 1
165 | 1039 | 7-hour E7 | 2
165 | 1040 | 7-hour E7 | 1
166 | 1048 | 7-hour E7 | 2
166 | 1049 | 7-hour E7 | 1
167 | 1055 | 7-hour E7 | 1
167 | 1056 | 7-hour E7 | 2
168 | 1057 | 7-hour E7 | 1
168 | 1058 | 7-hour E7 | 2
169 | 1059 | 7-hour E7 | 1
169 | 1060 | 7-hour E7 | 2
170 | 1061 | 7-hour E7 | 1
170 | 1062 | 7-hour E7 | 2
171 | 1063 | 7-hour E7 | 1
171 | 1064 | 7-hour E7 | 2
172 | 1065 | 7-hour E7 | 1
172 | 1066 | 7-hour E7 | 2
173 | 1067 | 7-hour E7 | 1
173 | 1068 | 7-hour E7 | 2
174 | 1071 | 7-hour E7 | 1
174 | 1072 | 7-hour E7 | 2
175 | 1078 | 7-hour E7 | 1
175 | 1079 | 7-hour E7 | 2
176 | 1124 | 7-hour E7 | 1
176 | 1125 | 7-hour E7 | 2
177 | 1126 | 7-hour E7 | 1
177 | 1127 | 7-hour E7 | 2
178 | 1128 | 7-hour E7 (Cornwall & def reinforcement) | 1
178 | 1129 | 7-hour E7 (Cornwall & def reinforcement) | 2
179 | 1139 | 7-hour E7 | 1
179 | 1140 | 7-hour E7 | 2
180 | 1141 | 7-hour E7 | 1
180 | 1142 | 7-hour E7 | 2
181 | 1143 | 7-hour E7 | 1
181 | 1144 | 7-hour E7 | 2
182 | 1145 | 7-hour E7 | 1
182 | 1146 | 7-hour E7 | 2
183 | 1147 | 7-hour E7 | 1
183 | 1148 | 7-hour E7 | 2
184 | 1149 | 7-hour E7 | 1
184 | 1150 | 7-hour E7 | 2
185 | 1151 | 7-hour E7 | 1
185 | 1152 | 7-hour E7 | 2
186 | 1153 | 7-hour E7 | 1
186 | 1154 | 7-hour E7 | 2
187 | 1324 | 7-hour E7 | 2
187 | 1325 | 7-hour E7 | 1
188 | 1191 | 7-hour E7 | 2
188 | 1192 | 7-hour E7 | 1
189 | 1233 | 7-hour E7 | EMEB or MIDE only
189 | 1234 | 7-hour E7 | EMEB or MIDE only
190 | 1238 | 7-hour E7 | EMEB or MIDE only
190 | 1239 | 7-hour E7 | EMEB or MIDE only
191 | 1240 | 7-hour E7 | EMEB or MIDE only
191 | 1241 | 7-hour E7 | EMEB or MIDE only
192 | 1242 | 7-hour E7 | EMEB or MIDE only
192 | 1243 | 7-hour E7 | EMEB or MIDE only
193 | 1244 | 7-hour E7 | EMEB or MIDE only
193 | 1245 | 7-hour E7 | EMEB or MIDE only
194 | 1246 | 7-hour E7 | EMEB or MIDE only
194 | 1247 | 7-hour E7 | EMEB or MIDE only
195 | 1248 | 7-hour E7 | EMEB or MIDE only
195 | 1249 | 7-hour E7 | EMEB or MIDE only
196 | 1250 | 7-hour E7 | EMEB or MIDE only
196 | 1251 | 7-hour E7 | EMEB or MIDE only
197 | 1252 | 7-hour E7 | EMEB or MIDE only
197 | 1253 | 7-hour E7 | EMEB or MIDE only
198 | 1254 | 7-hour E7 | EMEB or MIDE only
198 | 1255 | 7-hour E7 | EMEB or MIDE only
199 | 1256 | 7-hour E7 | EMEB or MIDE only
199 | 1257 | 7-hour E7 | EMEB or MIDE only
201 | 1265 | 7-hour E7 | EMEB or MIDE only
201 | 1266 | 7-hour E7 | EMEB or MIDE only
202 | 1267 | 7-hour E7 | EMEB or MIDE only
202 | 1268 | 7-hour E7 | EMEB or MIDE only
203 | 1269 | 7-hour E7 | EMEB or MIDE only
203 | 1270 | 7-hour E7 | EMEB or MIDE only
204 | 1271 | 7-hour E7 | EMEB or MIDE only
204 | 1272 | 7-hour E7 | EMEB or MIDE only
205 | 1273 | 7-hour E7 | EMEB or MIDE only
205 | 1274 | 7-hour E7 | EMEB or MIDE only
206 | 1275 | 7-hour E7 | EMEB or MIDE only
206 | 1276 | 7-hour E7 | EMEB or MIDE only
207 | 1277 | 7-hour E7 | EMEB or MIDE only
207 | 1278 | 7-hour E7 | EMEB or MIDE only
208 | 1279 | 7-hour E7 | EMEB or MIDE only
208 | 1280 | 7-hour E7 | EMEB or MIDE only
209 | 1286 | 7-hour E7 | 2
209 | 1287 | 7-hour E7 | 1
210 | 1293 | 7-hour E7 | 2
210 | 1294 | 7-hour E7 | 1
211 | 1295 | 7-hour E7 | 2
211 | 1296 | 7-hour E7 | 1
212 | 1297 | 7-hour E7 | 2
212 | 1298 | 7-hour E7 | 1
213 | 1299 | 7-hour E7 | 2
213 | 1300 | 7-hour E7 | 1
214 | 1326 | 7-hour E7 | 2
214 | 1327 | 7-hour E7 | 1
215 | 1328 | 7-hour E7 | 2
215 | 1329 | 7-hour E7 | 1
216 | 1330 | 7-hour E7 | 2
216 | 1331 | 7-hour E7 | 1
217 | 1332 | 7-hour E7 | 2
217 | 1333 | 7-hour E7 | 1
218 | 1334 | 7-hour E7 | 2
218 | 1335 | 7-hour E7 | 1
219 | 1336 | 7-hour E7 | 2
219 | 1337 | 7-hour E7 | 1
220 | 1338 | 7-hour E7 | 2
220 | 1339 | 7-hour E7 | 1
221 | 1340 | 7-hour E7 | 2
221 | 1341 | 7-hour E7 | 1
222 | 1342 | 7-hour E7 | 2
222 | 1343 | 7-hour E7 | 1
223 | 1344 | 7-hour E7 | 2
223 | 1345 | 7-hour E7 | 1
224 | 1353 | 7-hour E7 | 2
224 | 1354 | 7-hour E7 | 1
225 | 1355 | 7-hour E7 | 2
225 | 1356 | 7-hour E7 | 1
226 | 1357 | 7-hour E7 | 2
226 | 1358 | 7-hour E7 | 1
227 | 1359 | 7-hour E7 | 2
227 | 1360 | 7-hour E7 | 1
228 | 1361 | Supertariff heating | O
228 | 1399 | Supertariff heating | O
229 | 1362 | Supertariff heating | O
229 | 1400 | Supertariff heating | O
230 | 1363 | 7-hour E7 | O
230 | 1401 | 7-hour E7 | O
231 | 1371 | split 7-hour E7 | 2
231 | 1372 | split 7-hour E7 | 1
233 | 1375 | split 7-hour E7 | 2
233 | 1376 | split 7-hour E7 | 1
234 | 1377 | split 7-hour E7 | 2
234 | 1378 | split 7-hour E7 | 1
235 | 1379 | split 7-hour E7 | 2
235 | 1380 | split 7-hour E7 | 1
236 | 1381 | split 7-hour E7 | 2
236 | 1382 | split 7-hour E7 | 1
237 | 1383 | split 7-hour E7 | 2
237 | 1384 | split 7-hour E7 | 1
238 | 1385 | 7-hour E7 | 2
238 | 1386 | 7-hour E7 | 1
241 | 1042 | 7-hour E7 (differential switching) | 2
241 | 1043 | 7-hour E7 (differential switching) | 1
242 | 44 | 7-hour night | 1
242 | 208 | 7-hour night | 2
243 | 21 | Key Meter pseudo 2-rate | 1
243 | 231 | Key Meter pseudo 2-rate | 1 or Unsupported (SWEB)
244 | 40 | 7-hour E7 | 1
244 | 206 | 7-hour E7 | 2
245 | 1012 | 7-hour night | 2
245 | 1013 | 7-hour night | 1
246 | 160 | Economy 7 Day & Night | 2
246 | 276 | Economy 7 Day & Night | 1
246 | 277 | Economy 7 Day & Night | 1
247 | 1288 | 7-hour night | 1
247 | 1289 | 7-hour night | 2
248 | 1174 | 7-hour E7 | 1
248 | 1175 | 7-hour E7 | 2
249 | 1351 | 7-hour night | 2
249 | 1352 | 7-hour night | 1
250 | 206 | 7-hour OP | O
251 | 210 | 7-hour OP | O
252 | 212 | 7-hour OP | O
253 | 1290 | 7-hour OP | O
254 | 1316 | 7-hour variable E7 (Menter B) | 2
254 | 1317 | 7-hour variable E7 (Menter B) | 1
255 | 1320 | 7-hour variable E7 (Menter A) | 2
255 | 1321 | 7-hour variable E7 (Menter A) | 1
257 | 57 | 8-hour E7 | 1
257 | 196 | 8-hour E7 | 2
258 | 56 | 8-hour night | 1
258 | 195 | 8-hour night | 2
259 | 94 | 10-hour night | 1
259 | 167 | 10-hour night | 2
260 | 59 | 8-hour night | EMEB or MIDE only
260 | 191 | 8-hour night | EMEB or MIDE only
261 | 55 | 8-hour night | 1
261 | 194 | 8-hour night | 2 or Unsupported (SWEB)
262 | 57 | 8-hour night | 1
262 | 196 | 8-hour night | 2 or Unsupported (SWAE)
263 | 1010 | 8-hour night | 2
263 | 1011 | 8-hour night | 1
264 | 1069 | 8-hour night | 1
264 | 1070 | 8-hour night | 2
265 | 190 | 8-hour OP | O or Unsupported (SWEB)
266 | 191 | 8-hour OP | O
267 | 192 | 8-hour OP | O
268 | 193 | 8-hour OP | O or Unsupported (SWEB)
269 | 194 | 8-hour OP | O
270 | 196 | 8-hour OP | O or Unsupported (SWEB)
271 | 1088 | 8-hour OP | O
272 | 1089 | 8-hour OP | O
273 | 1090 | 8-hour OP | O
274 | 1115 | 8-hour OP | O
276 | 1347 | 8-hour OP | O
277 | 52 | 8-hour OP + Summer | O
278 | 105 | 8-hour OP + w/e | O
279 | 16 | 8-hour OP + w/e & Summer | O
280 | 170 | 8-hour OP + weekends | EMEB or MIDE only
281 | 11 | 9-hour night | 2
281 | 95 | 9-hour night | 1
283 | 1016 | 9-hour night (differential switching) | 1
283 | 1017 | 9-hour night (differential switching) | 2
284 | 177 | 9-hour OP | O
285 | 178 | 9-hour OP | EMEB or MIDE only
286 | 103 | 9-hour OP + w/e | O
287 | 1364 | Boiler | O
287 | 1402 | Boiler | O
288 | 1036 | Budget Warmth | O
289 | 1041 | Budget Warmth | O
290 | 1050 | Budget Warmth | O
291 | 1051 | Budget Warmth | O
292 | 1052 | Budget Warmth | O
297 | 1367 | Budget Warmth | O
298 | 1368 | Budget Warmth | O
299 | 1053 | Budget Warmth | O
300 | 1080 | Flexiheat Day/Evening/Weekend | 1
300 | 1081 | Flexiheat Day/Evening/Weekend | 1
301 | 1095 | Flexiheat (weather) Day/Evening/Weekend | 1
301 | 1096 | Flexiheat (weather) Day/Evening/Weekend | 1
302 | 1101 | Superdeal Day/Night | 1
302 | 1102 | Superdeal Day/Night | 1
303 | 1054 | Budget Warmth | O
304 | 1083 | Budget Warmth | O
305 | 1084 | Domestic heating tariff | 1
305 | 1085 | Domestic heating tariff | 2
306 | 1086 | Domestic heating tariff | 1
306 | 1087 | Domestic heating tariff | 2
307 | 1091 | Domestic heating tariff | 1
307 | 1092 | Domestic heating tariff | 2
308 | 1093 | Domestic heating tariff | 1
308 | 1094 | Domestic heating tariff | 2
309 | 1098 | Superdeal (weather) Day/Night | 1
309 | 1099 | Superdeal (weather) Day/Night | 1
310 | 1155 | E10 type 1 (general purpose) | 2
310 | 1156 | E10 type 1 (general purpose) | 1
312 | 1154 | 7-hour OP (see also SSC 186) | 2
313 | 1006 | Domestic E9 A | O
314 | 104 | 13-hour OP | EMEB or MIDE only
315 | 178 | Evening/night | EMEB or MIDE only
315 | 227 | Evening/night | EMEB or MIDE only
316 | 53 | Evening/Weekend | 2
316 | 198 | Evening/Weekend | 1
317 | 70 | Evening/Weekend | 2 or Unsupported (SWAE)
317 | 183 | Evening/Weekend | 1 or Unsupported (SWAE)
318 | 74 | Evening/Weekend | 1
318 | 180 | Evening/Weekend | 1
319 | 71 | 12-hour Evening/Weekend | 2 or Unsupported (SWAE and SWEB)
319 | 183 | 12-hour Evening/Weekend | 1 or Unsupported (SWAE and SWEB)
320 | 72 | Evening/Weekend | 2
320 | 184 | Evening/Weekend | 1
321 | 1004 | Evening/Weekend | 1
321 | 1005 | Evening/Weekend | 1
322 | 1073 | Evening/Weekend | 1
322 | 1074 | Evening/Weekend | 1
323 | 1284 | Evening/Weekend | 1
323 | 1285 | Evening/Weekend | Unsupported (SWAE)
324 | 1007 | Domestic E9 B | 1
325 | 183 | Evening/Weekend E7 | 1
325 | 186 | Evening/Weekend E7 | 1
325 | 206 | Evening/Weekend E7 | 2
326 | 184 | Evening/Weekend E7 | 1
326 | 187 | Evening/Weekend E7 | 2 or Unsupported (SWAE)
326 | 210 | Evening/Weekend E7 | 2 or Unsupported (SWAE)
327 | 135 | Evening/Weekend E7 | 1
327 | 198 | Evening/Weekend E7 | 1
327 | 222 | Evening/Weekend E7 | 2
328 | 1022 | Evening/Weekend E7 | 1
328 | 1023 | Evening/Weekend E7 | 2
328 | 1024 | Evening/Weekend E7 | 1
329 | 1027 | Evening/Weekend E7 | 1
329 | 1028 | Evening/Weekend E7 | 2
329 | 1029 | Evening/Weekend E7 | 1
330 | 1075 | Evening/Weekend E7 | 2
330 | 1076 | Evening/Weekend E7 | 1
330 | 1077 | Evening/Weekend E7 | 2
331 | 1167 | Evening/Weekend E7 | 1
331 | 1168 | Evening/Weekend E7 | 1
331 | 1169 | Evening/Weekend E7 | 2
332 | 1235 | Evening/Weekend E7 | EMEB or MIDE only
332 | 1236 | Evening/Weekend E7 | EMEB or MIDE only
332 | 1237 | Evening/Weekend E7 | EMEB or MIDE only
334 | 1131 | 3-rate heating, (link SSC 0343) | 1
334 | 1132 | 3-rate heating, (link SSC 0343) | 1
334 | 1133 | 3-rate heating, (link SSC 0343) | 2
335 | 18 | Grain Drying | 1
336 | 20 | Grain drying | O
337 | 82 | Grain drying | O
338 | 1365 | Heating | 2
338 | 1366 | Heating | 1
339 | 1025 | Local Authority Heating | O
340 | 1030 | Local Authority Heating | O
341 | 1032 | Local Authority Heating | O
342 | 1123 | Dom & Non-dom Seasonal (link SSC 0128) | 2
343 | 1134 | 3-rate heating, water heating | 2
344 | 1135 | 7-hour E7, Day + Night (link SSC 0345) | 1
344 | 1136 | 7-hour E7, Day + Night (link SSC 0345) | O
344 | 1137 | 7-hour E7, Day + Night (link SSC 0345) | 2
345 | 1138 | 7-hour E7, Day + Night (link SSC 0344) | 2
346 | 1130 | Non-Standard OP (8+3 hour) | O or Unsupported (SWEB)
347 | 48 | Non-Standard OP | O
348 | 49 | Non-Standard OP | O
349 | 50 | 7-hour E7 | 1
349 | 222 | 7-hour E7 | 2
350 | 1047 | Warmwise heating | O
351 | 1082 | Flexiheat heating | 1
352 | 1097 | Flexiheat (weather) heating | 1
353 | 1103 | Superdeal heating | 1
354 | 64 | 12-hour OP | EMEB or MIDE only
355 | 1392 | Smart 7, Day/Night | 1
355 | 1393 | Smart 7, Day/Night | 1
357 | 1200 | split 10-hour Heatwise | EMEB or MIDE only
357 | 1201 | split 10-hour Heatwise | EMEB or MIDE only
358 | 1202 | split 10-hour Heatwise | EMEB or MIDE only
358 | 1203 | split 10-hour Heatwise | EMEB or MIDE only
359 | 1204 | split 10-hour Heatwise | EMEB or MIDE only
359 | 1205 | split 10-hour Heatwise | EMEB or MIDE only
360 | 1206 | split 10-hour Heatwise | EMEB or MIDE only
360 | 1207 | split 10-hour Heatwise | EMEB or MIDE only
361 | 1208 | split 10-hour Heatwise | EMEB or MIDE only
361 | 1209 | split 10-hour Heatwise | EMEB or MIDE only
362 | 1210 | split 10-hour Heatwise | EMEB or MIDE only
362 | 1211 | split 10-hour Heatwise | EMEB or MIDE only
363 | 1212 | split 10-hour Heatwise | EMEB or MIDE only
363 | 1213 | split 10-hour Heatwise | EMEB or MIDE only
364 | 1214 | split 10-hour Heatwise | EMEB or MIDE only
364 | 1215 | split 10-hour Heatwise | EMEB or MIDE only
365 | 1216 | split 10-hour Heatwise | EMEB or MIDE only
365 | 1217 | split 10-hour Heatwise | EMEB or MIDE only
366 | 1218 | split 10-hour Heatwise | EMEB or MIDE only
366 | 1219 | split 10-hour Heatwise | EMEB or MIDE only
367 | 1220 | split 10-hour Heatwise | EMEB or MIDE only
367 | 1221 | split 10-hour Heatwise | EMEB or MIDE only
368 | 1222 | split 10-hour Heatwise | EMEB or MIDE only
368 | 1223 | split 10-hour Heatwise | EMEB or MIDE only
369 | 1224 | split 10-hour Heatwise | EMEB or MIDE only
369 | 1225 | split 10-hour Heatwise | EMEB or MIDE only
370 | 1226 | split 10-hour Heatwise | EMEB or MIDE only
370 | 1227 | split 10-hour Heatwise | EMEB or MIDE only
371 | 1228 | split 10-hour Heatwise | EMEB or MIDE only
371 | 1229 | split 10-hour Heatwise | EMEB or MIDE only
372 | 1180 | Evening/Weekend | 1
372 | 1181 | Evening/Weekend | 1
373 | 31 | split 7-hour E7 | 1
373 | 213 | split 7-hour E7 | 2
374 | 30 | split 7-hour E7 | 1
374 | 214 | split 7-hour E7 | 2
375 | 32 | split 7-hour E7 | 1
375 | 215 | split 7-hour E7 | 2
376 | 34 | split 7-hour E7 | 1
376 | 216 | split 7-hour E7 | 2
377 | 35 | split 7-hour E7 | 1
377 | 217 | split 7-hour E7 | 2
378 | 36 | split 7-hour E7 | 1
378 | 218 | split 7-hour E7 | 2
380 | 37 | split 7-hour E7 | 1
380 | 220 | split 7-hour E7 | 2
381 | 1170 | split 7-hour E7 | 2
381 | 1171 | split 7-hour E7 | 1
382 | 1172 | split 7-hour E7 | 2
382 | 1173 | split 7-hour E7 | 1
384 | 1185 | 7-hour E7 | 1
384 | 1186 | 7-hour E7 | 2
385 | 1260 | split 7-hour E7 | EMEB or MIDE only
385 | 1261 | split 7-hour E7 | EMEB or MIDE only
386 | 1184 | 9-hour OP | O
387 | 1183 | 15.5-hour OP | O
388 | 1262 | split 7-hour E7 | EMEB or MIDE only
388 | 1263 | split 7-hour E7 | EMEB or MIDE only
389 | 1182 | 12.5-hour OP | O
390 | 1291 | split 7-hour E7 | 2
390 | 1292 | split 7-hour E7 | 1
391 | 29 | Summer & Winter w/e | O
392 | 90 | Summer Unrestricted | 1
393 | 1 | Unrestricted | 1
394 | 1176 | 10-hour night | 1
394 | 1177 | 10-hour night | 2
395 | 1044 | Warmwise Day/Night | 2
395 | 1045 | Warmwise Day/Night | 1
395 | 1046 | Warmwise Day/Night | 1
396 | 1323 | 2-rate SToD | 1
397 | 1346 | 9-hour heating | 1
398 | 72 | 12-hour OP + w/e | 2
399 | 27 | 15-hour OP + w/e | Unsupported (SWAE)
400 | 58 | 8-hour night | 1
400 | 190 | 8-hour night | 2 or Unsupported (SWAE)
401 | 1157 | E10 type 1(heating circuit) | O
403 | 1178 | 12-hour night | 1
403 | 1179 | 12-hour night | 2
404 | 1161 | Redring Boiler (general purpose) | 2
404 | 1162 | Redring Boiler (general purpose) | 1
405 | 1163 | Redring Boiler (heating circuit) | O
406 | 77 | Cyclocontrol 3 | O
407 | 81 | Cyclocontrol 4 | O
408 | 87 | Cyclocontrol 5 | O
409 | 89 | Cyclocontrol 6 | O
410 | 98 | Cyclocontrol 7 | O
411 | 106 | Cyclocontrol 8 | O
412 | 107 | Cyclocontrol 9 | O
413 | 108 | Cyclocontrol 10 | O
414 | 110 | Cyclocontrol 11 | O
415 | 165 | Cyclocontrol 12 | O
416 | 179 | Cyclocontrol 13 | O
417 | 209 | Cyclocontrol 14 | O
418 | 188 | Cyclocontrol 15 | O
419 | 176 | Cyclocontrol 16 | O
420 | 253 | Cyclocontrol 17 | O
421 | 222 | Cyclocontrol 18 | O
422 | 254 | Cyclocontrol 19 | O
423 | 255 | Cyclocontrol 20 | O
424 | 256 | Cyclocontrol 21 | O
425 | 1100 | Superdeal (weather) heating | 2
426 | 1189 | 7-hour E7 | 1
426 | 1190 | 7-hour E7 | 2
427 | 1118 | Day/Night (White meter) | 1
427 | 1119 | Day/Night (White meter) | 2 or Unsupported (SWEB)
428 | 258 | Unmetered Type A ("flat" profile) | U
428 | 259 | Unmetered Type A ("flat" profile) | U
429 | 260 | Unmetered B ("dusk-to-dawn") | U
429 | 261 | Unmetered B ("dusk-to-dawn") | U
430 | 264 | Unmetered C ("half-night & pre-dawn") | U
430 | 265 | Unmetered C ("half-night & pre-dawn") | U
431 | 262 | Unmetered D ("dawn-to-dusk") | U
431 | 263 | Unmetered D ("dawn-to-dusk") | U
432 | 1397 | 7-hour E7 | 1
432 | 1398 | 7-hour E7 | 2
434 | 269 | 12 Hour OP | EMEB or MIDE only
435 | 270 | Domestic 3-rate heating | 1
435 | 271 | Domestic 3-rate heating | 1
435 | 272 | Domestic 3-rate heating | 2
436 | 273 | 3-Rate Seasonal | 1
436 | 274 | 3-Rate Seasonal | 1
436 | 275 | 3-Rate Seasonal | 2
437 | 1403 | Lifestyle Tariff | 2
437 | 1404 | Lifestyle Tariff | 1
437 | 1405 | Lifestyle Tariff | 1
439 | 346 | Split 7-hour E7 | 2
439 | 349 | Split 7-hour E7 | 1
440 | 210 | 3-rate ToW | 2
440 | 347 | 3-rate ToW | EMEB or MIDE only
440 | 348 | 3-rate ToW | EMEB or MIDE only
441 | 206 | 4-rate SToD | 2
441 | 350 | 4-rate SToD | 1
441 | 351 | 4-rate SToD | 1
441 | 352 | 4-rate SToD | 1
442 | 356 | 7-hour E7 | EMEB or MIDE only
442 | 357 | 7-hour E7 | EMEB or MIDE only
443 | 358 | Evening/Weekend | 1
443 | 359 | Evening/Weekend | 2 or Unsupported (SWAE)
444 | 208 | Evening/Weekend E7 | 2
444 | 358 | Evening/Weekend E7 | Unsupported (SWAE)
444 | 360 | Evening/Weekend E7 | Unsupported (SWAE)
445 | 1406 | 7-hour variable E7 | 1
445 | 1407 | 7-hour variable E7 | 2
446 | 1408 | 7-hour variable E7 | 1
446 | 1409 | 7-hour variable E7 | 2
447 | 206 | 7-hour OP | 2
448 | 1125 | 7-hour OP | 2
449 | 1127 | 7-hour OP | 2
450 | 1129 | 7-hour OP | 2
451 | 1140 | 7-hour OP | 2
452 | 1142 | 7-hour OP | 2
453 | 1144 | 7-hour OP | 2
454 | 1146 | 7-hour OP | 2
455 | 1148 | 7-hour OP | 2
456 | 1150 | 7-hour OP | 2
459 | 1398 | 7-hour OP | 2
460 | 361 | 12 Hours OP | O
461 | 361 | 12 Hours OP | O
462 | 362 | 8 Hours OP | O
463 | 363 | 10.5 Hours OP | O
464 | 364 | Weekender Tariff (V1) | 1
464 | 365 | Weekender Tariff (V1) | 1
465 | 1410 | Weekender Tariff (V2) | 1
465 | 1411 | Weekender Tariff (V2) | 1
466 | 366 | Maximum Demand Register | EMEB or MIDE only
467 | 367 | Maximum Demand Register | EMEB or MIDE only
468 | 368 | Maximum Demand Register | EMEB or MIDE only
469 | 369 | Maximum Demand Register | EMEB or MIDE only
470 | 370 | Maximum Demand Register | EMEB or MIDE only
473 | 1412 | Economy 7 - all purpose tariff G63 | 1
473 | 1413 | Economy 7 - all purpose tariff G63 | 2
474 | 1414 | split 7hr o/p | O
475 | 1415 | Split 7hr E7 | 1
475 | 1416 | Split 7hr E7 | 2
476 | 1417 | 14.5 hr o/p | O
477 | 1418 | 14.5 hr o/p | O
478 | 1419 | Evening/Weekend E7 | 1
478 | 1420 | Evening/Weekend E7 | 1
478 | 1421 | Evening/Weekend E7 | 2
479 | 1424 | Split 7-hour E7 | 2
479 | 1425 | Split 7-hour E7 | 1
480 | 1426 | Split 7-hour E7 | 2
480 | 1427 | Split 7-hour E7 | 1
481 | 1428 | Split 7-hour E7 | 2
481 | 1429 | Split 7-hour E7 | 1
482 | 378 | Micro-PV Export Import Profile Class 1 | G
483 | 379 | Micro-PV Export Import Profile Class 2 | G
484 | 380 | Micro-PV Export Import Profile Class 3 | G
485 | 381 | Micro-PV Export Import Profile Class 4 | G
486 | 382 | Micro-PV Export Import Profile Class 5 | G
487 | 383 | Micro-PV Export Import Profile Class 6 | G
488 | 384 | Micro-PV Export Import Profile Class 7 | G
489 | 385 | Micro-PV Export Import Profile Class 8 | G
490 | 386 | Micro-CHP Export Import Profile Class 1 | G
491 | 387 | Micro-CHP Export Import Profile Class 2 | G
492 | 388 | Micro-CHP Export Import Profile Class 3 | G
493 | 389 | Micro-CHP Export Import Profile Class 4 | G
494 | 390 | Micro-CHP Export Import Profile Class 5 | G
495 | 391 | Micro-CHP Export Import Profile Class 6 | G
496 | 392 | Micro-CHP Export Import Profile Class 7 | G
497 | 393 | Micro-CHP Export Import Profile Class 8 | G
498 | 394 | Other Sml Export SSC any import Profile | G
701 | 343 | 8.5-hour OP + w/e | O
702 | 344 | 8.5-hour OP + w/e | O
703 | 317 | 12-hour OP + w/e | O
704 | 318 | 12-hour OP + w/e | O
705 | 319 | 12-hour OP + w/e | O
706 | 320 | 12-hour OP + w/e | O
707 | 321 | 12-hour OP + w/e | O
708 | 322 | 12-hour OP + w/e | O
709 | 323 | 12-hour OP + w/e | O
710 | 324 | 12-hour OP + w/e | O
711 | 325 | 12-hour OP + w/e | O
712 | 326 | 16-hour OP + w/e | O
713 | 328 | 16-hour OP + w/e | O
714 | 329 | 16-hour OP + w/e | O
715 | 330 | 16-hour OP + w/e | O
716 | 339 | 20-hour OP + w/e | O
717 | 340 | 20-hour OP + w/e | O
718 | 341 | 20-hour OP + w/e + summer | O
719 | 342 | 20-hour OP + w/e + summer | O
720 | 331 | 3-rate SToD | 1
720 | 332 | 3-rate SToD | 1
720 | 333 | 3-rate SToD | 2
721 | 327 | 8.5 hour WM | 2
721 | 336 | 8.5 hour WM | 1
722 | 13067 | 8.5 hour WM | 2
722 | 13068 | 8.5 hour WM | 1
723 | 13070 | 8.5 hour WM | 2
723 | 13071 | 8.5 hour WM | 1
724 | 13073 | 8.5 hour WM | 2
724 | 13074 | 8.5 hour WM | 1
725 | 13076 | 8.5 hour WM | 2
725 | 13077 | 8.5 hour WM | 1
726 | 13079 | 8.5 hour WM | 2
726 | 13080 | 8.5 hour WM | 1
727 | 13032 | 8.5 hour WM | 2
727 | 13033 | 8.5 hour WM | 1
728 | 13034 | 8.5 hour WM Heating | 2
729 | 13035 | 8.5 hour WM | 2
729 | 13036 | 8.5 hour WM | 1
730 | 13037 | 8.5 hour WM Heating | 2
731 | 13038 | 8.5 hour WM | 2
731 | 13039 | 8.5 hour WM | 1
732 | 13040 | 8.5 hour WM Heating | 2
733 | 13041 | 8.5 hour WM | 2
733 | 13042 | 8.5 hour WM | 1
734 | 13043 | 8.5 hour WM Heating | 2
735 | 13044 | 8.5 hour WM | 2
735 | 13045 | 8.5 hour WM | 1
736 | 13046 | 8.5 hour WM Heating | 2
737 | 13047 | 8.5 hour WM | 2
737 | 13048 | 8.5 hour WM | 1
738 | 13049 | 8.5 hour WM Heating | 2
739 | 13050 | 8.5 hour WM | 2
739 | 13051 | 8.5 hour WM | 1
740 | 13052 | 8.5 hour WM Heating | 2
741 | 13053 | 8.5 hour WM | 2
741 | 13054 | 8.5 hour WM | 1
742 | 13055 | 8.5 hour WM Heating | 2
743 | 13056 | 8.5 hour WM | 2
743 | 13057 | 8.5 hour WM | 1
744 | 13058 | 8.5 hour WM Heating | 2
745 | 13059 | 8.5 hour WM | 2
745 | 13060 | 8.5 hour WM | 1
746 | 13061 | 8.5 hour WM Heating | 2
747 | 13062 | 8.5 hour WM | 2
747 | 13063 | 8.5 hour WM | 1
748 | 13064 | 8.5 hour WM | 2
748 | 13065 | 8.5 hour WM | 1
749 | 13066 | 8.5 hour WM Heating | 2
752 | 13011 | 8.5 hour WM | 2
752 | 13012 | 8.5 hour WM | 1
753 | 13013 | Weathercall heating | 2
754 | 13014 | 8.5 hour WM | 2
754 | 13015 | 8.5 hour WM | 1
755 | 13016 | Weathercall heating | 2
756 | 13017 | 8.5 hour WM | 2
756 | 13018 | 8.5 hour WM | 1
757 | 13019 | Weathercall heating | 2
758 | 13020 | 8.5 hour WM | 2
758 | 13021 | 8.5 hour WM | 1
759 | 13022 | Weathercall heating | 2
760 | 13023 | 8.5 hour WM | 2
760 | 13024 | 8.5 hour WM | 1
761 | 13025 | Weathercall heating | 2
762 | 13026 | 8.5 hour WM | 2
762 | 13027 | 8.5 hour WM | 1
763 | 13028 | Weathercall heating | 2
764 | 13002 | 8.5 hour WM | 2
764 | 13003 | 8.5 hour WM | 1
765 | 13004 | Weathercall heating | 2
766 | 13005 | 8.5 hour WM | 2
766 | 13006 | 8.5 hour WM | 1
767 | 13007 | Weathercall heating | 2
768 | 13008 | 8.5 hour WM | 2
768 | 13009 | 8.5 hour WM | 1
769 | 13010 | Weathercall heating | 2
770 | 13001 | 18-hour dynamic | 2
775 | 334 | Crop&Air Conditioning | O
776 | 335 | Crop&Air Conditioning | O
781 | 327 | 8.5 hour WM | O
782 | 13069 | 8.5 hour WM | 1
783 | 13072 | 8.5 hour WM | 1
784 | 13075 | 8.5 hour WM | 1
785 | 13078 | 8.5 hour WM | 1
786 | 13081 | 8.5 hour WM | 1
787 | 13082 | E7 accompanying Birmingam W'call | 2
787 | 13083 | E7 accompanying Birmingam W'call | 1
788 | 13084 | Birmingham Weathercall | 1
789 | 13085 | E7 accompanying Manchester W'call | 2
789 | 13086 | E7 accompanying Manchester W'call | 1
790 | 13087 | Manchester Weathercall | 1
791 | 13088 | E7 accompanying Anglesey W'call | 2
791 | 13089 | E7 accompanying Anglesey W'call | 1
792 | 13090 | Anglesey Weathercall | 1
793 | 13091 | 8.5 hour WM | 2
793 | 13092 | 8.5 hour WM | 1
794 | 13093 | 8.5 hour WM Heating | 2
801 | 306 | Unrestricted | 1
802 | 14005 | Two rate with 8 hours night | 2
802 | 14006 | Two rate with 8 hours night | 1
803 | 14007 | Dynamic | O
804 | 14008 | Two rate with 8 hours night | 2
804 | 14009 | Two rate with 8 hours night | 1
805 | 14010 | Dynamic | O
806 | 14011 | Two rate with 8 hours night | 2
806 | 14012 | Two rate with 8 hours night | 1
807 | 14013 | Dynamic | O
808 | 14017 | Two rate with 8 hours night | 2
808 | 14018 | Two rate with 8 hours night | 1
809 | 14019 | Dynamic | O
810 | 14020 | Two rate with 8 hours night | 2
810 | 14021 | Two rate with 8 hours night | 1
811 | 14022 | Dynamic | O
812 | 14023 | Two rate with 8 hours night | 2
812 | 14024 | Two rate with 8 hours night | 1
813 | 14025 | Dynamic | O
814 | 14029 | Two rate with 8 hours night | 2
814 | 14030 | Two rate with 8 hours night | 1
815 | 14031 | Dynamic | O
816 | 14032 | Two rate with 8 hours night | 2
816 | 14033 | Two rate with 8 hours night | 1
817 | 14034 | Dynamic | O
818 | 14035 | Two rate with 8 hours night | 2
818 | 14036 | Two rate with 8 hours night | 1
819 | 14037 | Dynamic | O
820 | 14042 | Two rate with 8 hours night | 2
820 | 14043 | Two rate with 8 hours night | 1
821 | 14044 | Dynamic | O
822 | 14045 | Two rate with 8 hours night | 2
822 | 14046 | Two rate with 8 hours night | 1
823 | 14047 | Dynamic | O
824 | 14048 | Two rate with 8 hours night | 2
824 | 14049 | Two rate with 8 hours night | 1
825 | 14050 | Dynamic | O
826 | 14069 | Two rate with 8 hours night | 2
826 | 14070 | Two rate with 8 hours night | 1
827 | 14071 | Dynamic | O
828 | 14072 | Two rate with 8 hours night | 2
828 | 14073 | Two rate with 8 hours night | 1
829 | 14074 | Dynamic | O
830 | 14075 | Two rate with 8 hours night | 2
830 | 14076 | Two rate with 8 hours night | 1
831 | 14077 | Dynamic | O
832 | 14085 | Two rate with 8 hours night | 2
832 | 14086 | Two rate with 8 hours night | 1
833 | 14087 | Dynamic | O
834 | 14088 | Two rate with 8 hours night | 2
834 | 14089 | Two rate with 8 hours night | 1
835 | 14090 | Dynamic | O
836 | 14091 | Two rate with 8 hours night | 2
836 | 14092 | Two rate with 8 hours night | 1
837 | 14093 | Dynamic | O
838 | 14094 | Two rate with 8 hours night | 2
838 | 14095 | Two rate with 8 hours night | 1
839 | 14096 | Dynamic | O
840 | 14110 | Two rate with 8 hours night | 2
840 | 14111 | Two rate with 8 hours night | 1
841 | 14112 | Dynamic | O
842 | 14113 | Two rate with 8 hours night | 2
842 | 14114 | Two rate with 8 hours night | 1
843 | 14115 | Dynamic | O
844 | 14116 | Two rate with 8 hours night | 2
844 | 14117 | Two rate with 8 hours night | 1
845 | 14118 | Dynamic | O
846 | 14138 | Two rate with 8 hours night | 2
846 | 14139 | Two rate with 8 hours night | 1
847 | 14140 | Dynamic | O
848 | 14141 | Two rate with 8 hours night | 2
848 | 14142 | Two rate with 8 hours night | 1
849 | 14143 | Dynamic | O
850 | 14014 | Dynamic | O
851 | 14038 | Dynamic | O
852 | 14001 | Two rate with 8 hours night | 2
852 | 14002 | Two rate with 8 hours night | 1
853 | 14081 | Two rate with 8 hours night | 2
853 | 14082 | Two rate with 8 hours night | 1
854 | 14083 | Two rate with 8 hours night | 2
854 | 14084 | Two rate with 8 hours night | 1
855 | 14103 | Two rate with 8 hours night | 2
855 | 14104 | Two rate with 8 hours night | 1
856 | 14105 | Two rate with 8 hours night | 2
856 | 14106 | Two rate with 8 hours night | 1
857 | 14015 | Two rate with 8 hours night | 2
857 | 14016 | Two rate with 8 hours night | 1
858 | 14039 | Two rate with 8 hours night | 2
858 | 14040 | Two rate with 8 hours night | 1
859 | 14003 | Two rate with 8 hours night | 2
859 | 14004 | Two rate with 8 hours night | 1
860 | 14026 | Two rate with 8 hours night | 2
860 | 14027 | Two rate with 8 hours night | 1
861 | 14051 | Two rate with 8 hours night | 2
861 | 14052 | Two rate with 8 hours night | 1
862 | 14107 | Two rate with 8 hours night | 2
862 | 14108 | Two rate with 8 hours night | 1
863 | 14054 | Two rate with 8 hours night | 2
863 | 14055 | Two rate with 8 hours night | 1
864 | 14121 | Two rate with 8 hours night | 2
864 | 14122 | Two rate with 8 hours night | 1
865 | 14057 | Two rate with 8 hours night | 2
865 | 14058 | Two rate with 8 hours night | 1
866 | 14059 | Dynamic | O
867 | 14060 | Two rate with 8 hours night | 2
867 | 14061 | Two rate with 8 hours night | 1
868 | 14062 | Dynamic | O
869 | 14063 | Two rate with 8 hours night | 2
869 | 14064 | Two rate with 8 hours night | 1
870 | 14065 | Dynamic | O
871 | 14066 | Two rate with 8 hours night | 2
871 | 14067 | Two rate with 8 hours night | 1
872 | 14068 | Dynamic | O
873 | 14078 | Two rate with 8 hours night | 2
873 | 14079 | Two rate with 8 hours night | 1
874 | 14080 | Dynamic | O
875 | 14100 | Two rate with 8 hours night | 2
875 | 14101 | Two rate with 8 hours night | 1
876 | 14102 | Dynamic | O
877 | 14123 | Two rate with 8 hours night | 2
877 | 14124 | Two rate with 8 hours night | 1
878 | 14125 | Dynamic | O
879 | 14126 | Two rate with 8 hours night | 2
879 | 14127 | Two rate with 8 hours night | 1
880 | 14128 | Dynamic | O
881 | 14129 | Two rate with 8 hours night | 2
881 | 14130 | Two rate with 8 hours night | 1
882 | 14131 | Dynamic | O
883 | 14132 | Two rate with 8 hours night | 2
883 | 14133 | Two rate with 8 hours night | 1
884 | 14134 | Dynamic | O
885 | 14135 | Two rate with 8 hours night | 2
885 | 14136 | Two rate with 8 hours night | 1
886 | 14137 | Dynamic | O
887 | 14144 | Two rate with 8 hours night | 2
887 | 14145 | Two rate with 8 hours night | 1
888 | 14146 | Dynamic | O
889 | 278 | Two rate with 8 hours night | 2
889 | 289 | Two rate with 8 hours night | 1
890 | 14028 | Dynamic | O
891 | 14099 | Dynamic | O
892 | 14119 | Dynamic | O
893 | 14120 | Dynamic | O
894 | 300 | 8 Hours OP | O
895 | 311 | 8 Hours OP | O
896 | 312 | 8 Hours OP | O
897 | 14097 | Dynamic | O
898 | 14098 | Dynamic | O
899 | 281 | 11 Hours OP | O
900 | 282 | 11 Hours OP | O
901 | 283 | 11 Hours OP | O
902 | 284 | 11 Hours OP | O
903 | 285 | 11 Hours OP | O
904 | 286 | 8 Hours OP + Weekends | O
905 | 287 | 8 Hours OP + Weekends | O
906 | 288 | 8 Hours OP + Weekends | O
907 | 292 | 15 Hours OP + Weekends | O
908 | 293 | 15 Hours OP + Weekends | O
909 | 294 | 15 Hours OP + Weekends | O
910 | 295 | 15 Hours OP + Weekends | O
911 | 296 | 15 Hours OP + Weekends | O
912 | 297 | 15 Hours OP + Weekends | O
913 | 298 | 15 Hours OP + Weekends | O
914 | 299 | 15 Hours Nov - April/24 Hours May - Oct | 1
915 | 313 | 8 Hours OP | 2
915 | 314 | 8 Hours OP | 1
916 | 315 | 8 Hours OP | 2
916 | 316 | 8 Hours OP | 1
917 | 279 | 8 Hours OP | 2
917 | 280 | 8 Hours OP | 1
918 | 290 | Evening/Weekend | 1
918 | 291 | Evening/Weekend | 1
919 | 57 | 2 rate | 1
919 | 278 | 2 rate | 2
920 | 57 | 2 rate | 1
920 | 278 | 2 rate | 2
922 | 301 | Unrestricted | 1
923 | 302 | Unrestricted | 1
924 | 303 | Unrestricted | 1
925 | 259 | Unmetered Type A ("flat " profile) | U
925 | 307 | Unmetered Type A ("flat " profile) | U
926 | 261 | Unmetered B ("dusk-to-dawn") | U
926 | 308 | Unmetered B ("dusk-to-dawn") | U
927 | 263 | Unmetered D ("dawn-to-dusk") | U
927 | 309 | Unmetered D ("dawn-to-dusk") | U
928 | 265 | Unmetered C ("half-night & pre-dawn") | U
928 | 310 | Unmetered C ("half-night & pre-dawn") | U
929 | 14041 | 11 Hours OP | O
930 | 14053 | 11 Hours OP | O
931 | 14056 | 11 Hours OP | O
932 | 191 | Seasonal ToD | 2
932 | 353 | Seasonal ToD | 1
932 | 354 | Seasonal ToD | 1
932 | 355 | Seasonal ToD | 1
933 | 14147 | Two rate with 8 hours night | 2
933 | 14148 | Two rate with 8 hours night | 1
934 | 14149 | Dynamic | O
935 | 374 | Split 10 hr E10 | 2 or Unsupported (SWAE and SWEB)
935 | 375 | Split 10 hr E10 | 1 or Unsupported (SWAE and SWEB)
936 | 1422 | Split 10 hr E10 | 1
936 | 1423 | Split 10 hr E10 | 2
937 | 14150 | Split 10 hr E10 | 2
937 | 14151 | Split 10 hr E10 | 1
938 | 376 | Split 10 hr E10 | 2
938 | 377 | Split 10 hr E10 | 1
939 | 395 | Split 10 hr E10 | 2
939 | 396 | Split 10 hr E10 | 1
940 | 397 | NHH Export Hydro Profile Class | G
941 | 398 | NHH Export Wind Profile Class | G
942 | 400 | 7-hour E7 (Cornwall & def reinforcement) | 1
942 | 401 | 7-hour E7 (Cornwall & def reinforcement) | 2
943 | 404 | 7-hour E7 | 1
943 | 405 | 7-hour E7 | 2
944 | 406 | 7-hour E7 | 1
944 | 407 | 7-hour E7 | 2
945 | 408 | 7-hour E7 | 1
945 | 409 | 7-hour E7 | 2
946 | 410 | 7-hour E7 | 1
946 | 411 | 7-hour E7 | 2
947 | 412 | Smart Meter 3 Rate Time of Day | 2
947 | 413 | Smart Meter 3 Rate Time of Day | 1
947 | 414 | Smart Meter 3 Rate Time of Day | 1
948 | 415 | 10 hour Evening/Weekend | 2 or Unsupported (SWAE and SWEB)
948 | 416 | 10 hour Evening/Weekend | 1
949 | 417 | General Purpose 2 Rate (paired wth 0950) | 1
949 | 418 | General Purpose 2 Rate (paired wth 0950) | 2
950 | 419 | E10 Heating Single Rate (prd wth 0949) | O
951 | 420 | E9 Heating | O
952 | 421 | General Purpose 2 Rate (paired wth 0951) | 1
952 | 422 | General Purpose 2 Rate (paired wth 0951) | 2
953 | 423 | Two rate with 20 hours night | 1
953 | 424 | Two rate with 20 hours night | 1 or Unsupported (SWAE and SWEB)
954 | 425 | Three Rate Peak Day Other | 2 or Unsupported (SWAE and SWEB)
954 | 426 | Three Rate Peak Day Other | 1 or Unsupported (SWAE and SWEB)
954 | 427 | Three Rate Peak Day Other | 1 or Unsupported (SWAE and SWEB)
955 | 206 | 4 rate weekday/2 rate weekend | 2
955 | 428 | 4 rate weekday/2 rate weekend | 1
955 | 429 | 4 rate weekday/2 rate weekend | 2
955 | 430 | 4 rate weekday/2 rate weekend | 1
956 | 160 | 4 Rate Weekday/2 rate Weekend (BST) | 2
956 | 427 | 4 Rate Weekday/2 rate Weekend (BST) | 1
956 | 431 | 4 Rate Weekday/2 rate Weekend (BST) | 2
956 | 432 | 4 Rate Weekday/2 rate Weekend (BST) | 1
957 | 432 | Unrestricted with Weekday Peak | 1
957 | 433 | Unrestricted with Weekday Peak | 2
958 | 434 | Unrestricted with Peak | 2
958 | 435 | Unrestricted with Peak | 1
959 | 160 | Economy 7 with Weekday Peak | 2
959 | 432 | Economy 7 with Weekday Peak | 1
959 | 436 | Economy 7 with Weekday Peak | 2
960 | 160 | Economy 7 with Peak | 2
960 | 435 | Economy 7 with Peak | 1
960 | 441 | Economy 7 with Peak | 1
961 | 427 | Evening Weekend and Weekday Peak (smart) | 1
961 | 432 | Evening Weekend and Weekday Peak (smart) | 1
961 | 437 | Evening Weekend and Weekday Peak (smart) | 2
962 | 427 | Evening Weekend with Peak | 1
962 | 435 | Evening Weekend with Peak | 1
962 | 438 | Evening Weekend with Peak | 2
963 | 160 | Evening Weekend Night and Peak | 2
963 | 427 | Evening Weekend Night and Peak | 1
963 | 435 | Evening Weekend Night and Peak | 1
963 | 439 | Evening Weekend Night and Peak | 2
964 | 160 | Evening Weekend with Night (BST) | 2
964 | 431 | Evening Weekend with Night (BST) | 2
964 | 440 | Evening Weekend with Night (BST) | 1
965 | 194 | 3 Rate with Weekday Peak | 2
965 | 489 | 3 Rate with Weekday Peak | 1
965 | 500 | 3 Rate with Weekday Peak | 2
966 | 488 | 8-hour OP | O
967 | 442 | Superdeal Day/Night | 1
967 | 443 | Superdeal Day/Night | 2
968 | 444 | Superdeal Day/Night | 1
969 | 443 | 3 Rate with Weekday Peak | 2
969 | 489 | 3 Rate with Weekday Peak | 1
969 | 501 | 3 Rate with Weekday Peak | 1
970 | 447 | split 7-hour E7 | 2
970 | 448 | split 7-hour E7 | 1
971 | 492 | Smart meter trial - time of use 3 rate | 2
971 | 493 | Smart meter trial - time of use 3 rate | 1
971 | 494 | Smart meter trial - time of use 3 rate | 1
972 | 502 | 2 Rate Saturday Off Peak | 1
972 | 503 | 2 Rate Saturday Off Peak | 2 or Unsupported (SWAE and SWEB)
973 | 453 | Flexiheat Day/Evening/Weekend | 1
973 | 454 | Flexiheat Day/Evening/Weekend | 2
974 | 455 | Flexiheat heating | 2
975 | 504 | Saturday Off Peak (9-5) | 1
975 | 505 | Saturday Off Peak (9-5) | 2
976 | 506 | Sunday Off Peak (9-5) | 1
976 | 507 | Sunday Off Peak (9-5) | 2
978 | 462 | 7-hour OP | O
979 | 463 | Non-Standard OP (8+3 hour) | O or Unsupported (SWEB)
980 | 466 | General Purpose 2 Rate (paired with 0980 | 2
980 | 467 | General Purpose 2 Rate (paired with 0980 | 1
981 | 468 | E10 Heating Single Rate (prd with 0981) | O
982 | 508 | Evening Saver | 2
982 | 509 | Evening Saver | 1
983 | 510 | Comfort Booster | 2
983 | 511 | Comfort Booster | 1
984 | 512 | Saturday Off Peak (24 Hrs) | 1
984 | 513 | Saturday Off Peak (24 Hrs) | 2
985 | 514 | Sunday Off Peak (24 Hrs) | 1
985 | 515 | Sunday Off Peak (24 Hrs) | 2
989 | 475 | Redring Boiler (general purpose) | 2
989 | 476 | Redring Boiler (general purpose) | 1
990 | 477 | Redring Boiler (heating circuit) | O
991 | 478 | 8-hour OP | O
996 | 485 | Lifestyle Tariff | 2
996 | 486 | Lifestyle Tariff | 1
996 | 487 | Lifestyle Tariff | 2
997 | 490 | Evening/Weekend - BST | 2 or Unsupported (SWAE and SWEB)
997 | 491 | Evening/Weekend - BST | 1
Notes:
There are a few governing rules that should be applied:
Specific notes for application to WPD areas:
  WPD East Midlands (EMEB) and WPD West Midlands (MIDE) tariffs are all delinked and set time bands are applied in place of the TPR’s timebands.
  WPD South West (SWEB) and South Wales (SWAE) do not support all SSC combinations and where indicated with ‘Unsupported’ then set time bands are applied.
Otherwise the following rules apply to the remaining DNO areas.
  1, G and U should be applied straight to the appropriate SSC/TPRs, to identify generation and UMS tariffs.
  Then considering the SSC/TPRs alongside the PC.
  2, PC1s should be labelled Domestic Unrestricted.
  3, PC2s with a SSCs with O should be labelled Domestic Off Peak.
  4, Remaining PC2s should be labelled Domestic Two Rate with the unit as 1 or 2 as detailed.
  5, PC3s should be labelled Small Non Domestic Unrestricted.
  6, PC4s with a SSCs with O should be labelled Small Non Domestic Off Peak.
  7, Remaining PC4s should be labelled Small Non Domestic Two Rate with the unit as 1 or 2 as detailed.
  8, PC5 – 8s, depending on the voltage of connection, they should be labelled; LV Medium Non Domestic, LV Sub Medium Non Domestic or HV Medium Non Domestic with the unit as 1 or 2 as detailed.
Common decode:
  1: Unit 1 (Day)
  2: Unit 2 (Night)
  O: Off Peak
  G: Generation
  U: UMS
  Unsupported: WPD South West (SWEB) or South Wales (SWAE) default TPRs applied
  EMEB or MIDE only: only exists in those areas (either or both) as delinked.
Notes:
There are a few governing rules that should be applied:
Specific notes for application to WPD areas:
  WPD East Midlands (EMEB) and WPD West Midlands (MIDE) tariffs are all delinked and set time bands are applied in place of the TPR’s timebands.
  WPD South West (SWEB) and South Wales (SWAE) do not support all SSC combinations and where indicated with ‘Unsupported’ then set time bands are applied.
Otherwise the following rules apply to the remaining DNO areas.
  1, G and U should be applied straight to the appropriate SSC/TPRs, to identify generation and UMS tariffs.
  Then considering the SSC/TPRs alongside the PC.
  2, PC1s should be labelled Domestic Unrestricted.
  3, PC2s with a SSCs with O should be labelled Domestic Off Peak.
  4, Remaining PC2s should be labelled Domestic Two Rate with the unit as 1 or 2 as detailed.
  5, PC3s should be labelled Small Non Domestic Unrestricted.
  6, PC4s with a SSCs with O should be labelled Small Non Domestic Off Peak.
  7, Remaining PC4s should be labelled Small Non Domestic Two Rate with the unit as 1 or 2 as detailed.
  8, PC5 – 8s, depending on the voltage of connection, they should be labelled; LV Medium Non Domestic, LV Sub Medium Non Domestic or HV Medium Non Domestic with the unit as 1 or 2 as detailed.
Common decode:
  1: Unit 1 (Day)
  2: Unit 2 (Night)
  O: Off Peak
  G: Generation
  U: UMS
  Unsupported: WPD South West (SWEB) or South Wales (SWAE) default TPRs applied
  EMEB or MIDE only: only exists in those areas (either or both) as delinked.

## Charge Calculator
Back to Overview
Leep Electricity Networks Limited — GSP Group _G North Western - Effective from 01 April 2019 - Final
LV and HV tariff calculator | [7 empty] | EHV site calculator
Step 1, Choose your tariff using the drop down list in cell B10 | [7 empty] | Step 1, Choose your tariff using the drop down list in cell L10
Step 2, After selecting a tariff in step 1, Cells C12-I12 will generate headings, please enter your consumption in cells C13:I13 underneath each heading generated (if no heading leave cell blank) | [7 empty] | Step 2, After selecting a tariff in step 1, Cells M12-T12 will generate headings, please enter your consumption in cells M13:T13 underneath each heading generated (if no heading leave cell blank)
Step 3, Enter a forecast of consumption if required in cells C14:I14 | [7 empty] | Step 3, Enter a forecast of consumption if required in cells M14:T14
Tariff details Choose tariff name from drop down box below | Unit rate 1 p/kWh (red/black) | Unit rate 2 p/kWh (amber/yellow) | Unit rate 3 p/kWh (green) | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Reactive power charge p/kVArh | Excess capacity charge p/kVA/day | Site details Choose the site name from the drop down box below | Import red unit rate (p/kWh) | Import fixed charge (p/day) | Import capacity rate (p/kVA/day) | Import exceeded capacity rate (p/kVA/day) | Export Super Red unit rate (p/kWh) | Export fixed charge (p/day) | Export capacity rate (p/kVA/day) | Export exceeded capacity rate (p/kVA/day)
Site 1
Tariff components | Unit 1 kWh (red/black/day) | Unit 2 kWh (amber/yellow /night) | Unit 3 kWh (green) | Number of days in consumption period i.e. 365 if one year | Maximum import or export capacity kVA | Excess reactive units kVArh | Average daily excess capacity kVA | Tariff components | Import super red kWh | Number of days in consumption period i.e. 365 if one year | Maximum import capacity kVA | Average daily excess capacity kVA | Export Super Red kWh | Number of days in consumption period i.e. 365 if one year | Maximum export capacity kVA | Average daily excess capacity kVA
Enter current consumption details | [7 empty] | Enter current consumption details | [5 empty] | 0
Enter forecast consumption details (if different) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Enter forecast consumption details (if different) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Charge components | Unit 1 £ | Unit 2 £ | Unit 3 £ | Fixed charge £ | Capacity charge £ | Reactive power charge £ | Excess capacity charge £ | Charge components | Import super red charge £ | Import fixed charge £ | Import capacity charge £ | Import excess capacity charge £ | Export super red charge £ | Export fixed charge £ | Export capacity charge £ | Export excess capacity charge £
Current consumption period charges | [7 empty] | Current consumption period charges
Forecast consumption period charges | [7 empty] | Forecast consumption period charges
| Total charge £ | [7 empty] | Import total charge £ | Export total charge £
Current consumption period charges | 0 | [6 empty] | Current consumption period charges | 0 | 0
Forecast consumption period charges | 0 | [6 empty] | Forecast consumption period charges | 0 | 0
These charges are estimates based on tariff selected and consumption values entered. | [7 empty] | These charges are estimates based on site selected and consumption values entered.
Note:
For the purpose of forecasting the excess capacity charge, the input in this calculator uses the average daily excess capacity as this reduces the calculators complexity, however as per the Use of System Charging Statement, the exceeded portion of the capacity will be charged at the excess capacity charge p/kVA/day rate, based on the difference between the MIC/MEC and the actual capacity used. This will be charged for the full duration of the month in which the breach occurs.”